[image: image1.png]@ Xcel Energy

PUBLIC SERVICE COMP




Siting and Land Rights























Right of Way & Permits


1123 West 3rd Avenue



Denver, Colorado 80223



Telephone: 303.571.3306










      Facsimile: 303. 571.3284









donna.l.george@xcelenergy.com
April 21, 2015
Town of Parker Community Development Department

20120 E. Mainstreet

Parker, CO  80138

Attn:  
Patrick Mulready
Re:  
Crown Point F1 A20 L4A Boondocks, Case # SP15-0017
Public Service Company of Colorado (PSCo) has reviewed the plans for Crown Point F1 A20 L4A Boondocks. Please be aware PSCo owns and operates existing natural gas distribution facilities along Cottonwood Drive and requests they be shown on the plans. 
The property owner/developer/contractor must contact the Builder's Call Line at 1-800-628-2121 and complete the application process for any new gas service or modification to existing facilities. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details. Additional easements may need to be acquired by separate document for new facilities.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center, at 1-800-922-1987 to have all utilities located prior to any construction.

Should you have any questions with this referral response, please contact me at 303-571-3306. 
Donna George

Contract Right of Way Referral Processor

Public Service Company of Colorado
