# Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223

MEMORANDUM

TO:	Perception Design Group, Inc.

#### c/o Jerry Davidson

#### 6901S Pierce St

#### Littleton Co  80123

FROM:	Carolyn Parkinson –Planner I

DATE:	1.8.18

SUBJECT:   Parker Pointe Multi-Tennant Retail Building SP17-095 New Lot 10

The following are the comments regarding your application.  All comments must be responded to, and if you disagree with a comment please indicate the reasoning of your disagreement.  Please sign and return this memo with your next submittal.  A follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance.

TOWN OF PARKER PLANNING DEPARTMENT:

ATTN:

E-MAIL:  cparkinson@parkeronline.org

FAX:  303-841-3223

PHONE:  303-841-2332

Due to conflicting/missing submittal information, some review, such as compliance with parking requirements, has not been possible. Also resulting from conflicting submittal information, please note that this site plan has been reviewed as a multi-tenant use without drive through. New and/or revised comments may result at re-submittal. Additionally, changes resulting from the associated annexation and minor development review may also result in new and/or revised comments at re-submittal.

As requested by Engineering, please separate CD’s by individual lot. Submittal and approval of CD’s that incorporate both lots will require both lots to be complete before either can be issued a CO. There is no phasing allowed.

COVER SHEET

- Please correct lot number on cover sheet as well as any other of the 12 sheets that are incorrect. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: Lot numbers are corrected.

- Please call out sidewalk separate from landscaping. Sidewalks cannot be included in calculations for landscaping.

Please amend.

Complied:		 Yes		 No

Response: Sidewalks are separated.

- Parking analysis provides the total provided. The total required must also be provided. An analysis of the various uses will be needed to determine required parking and this information should be included in site data table.

Please amend.

Complied:		 Yes		 No

Response: The building is divided by use with parking required for each use notated.

- Signature block provided is not needed. Site plans are administratively approved. Please remove.

Please amend.

Complied:		 Yes		 No

Response: Signature blocks are removed.

- Please include the –C Commercial to the site zoning as shown on the redline .

Please amend.

Complied:		 Yes		 No

Response: Designation added. Should a notation be made for the modifications to the standard zoning?

SITE PLAN

- Please review site plan submittal requirements and add missing information as noted on the redline.

Please amend.

Complied:		 Yes		 No

Response: Additional required elements are added per redlines.

- A sidewalk connection is needed to Parker Rd per the Commercial Industrial and Multi-family Standards (CI&MF). Staff is supportive of a shared connection for the lots 9 and 10. A connection at this southern end is needed to ultimately tie into Gulch trail.

Please amend.

Complied:		 Yes		 No

Response: Site grades prevent a direct connection to the Parker Road sidewalk. Pedestrian access is proposed along the interior drive and then down the access drive to Parker Road. Trail connection is anticipated from the Parker Road sidewalk.

- The street frontage on the east property boundary needs to be re-designed to include required streetscape element and to conform to a typical street frontage. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: Site plan is revised per our meetings.

- Please gray out all the parking and access shown beyond the northern property boundary. While it is important to show the access, it is not onsite and cannot be used to fulfill required parking. This area cannot be approved as part of the lot 10 site plan. Please see the Land Development Ordinance (LDO) section 13.06.050 (b) (6) and redline.

Please amend.

Complied:		 Yes		 No

Response: Adjacent lot features are screened.

- What appears to be concrete scoring is shown on the site plan. Additional detail is needed however, as a thorough materials review cannot be determined as provided.

Please amend.

Complied:		 Yes		 No

Response: Scoring patterns are a level of detail beyond the scope of the Development Plan. These are generally set in the field by the expertise of the craftsmen. The lines shown are merely to represent a sidewalk. Standard grey concrete is proposed with standard tooled joints.

- The planter box shown along the western elevation is not detailed either on the site plan or in the elevation drawings. Please provide detail information complete with materials. Any additional materials will need to be submitted as part of the materials sample board.

Please amend.

Complied:		 Yes		 No

Response: See the building elevation sheets for the requested detailing.

- The access aisle shown on the interior of the site will need to look and act as any other local roadway. As such, it will need to be named and include the required streetscape elements as noted in comment #8

Please amend.

Complied:		 Yes		 No

Response: The drive is revised per our meetings.

- The area around the front patio and the HC ramp requires revision. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: The sidewalk has been reduced in width a little. Patio furniture set by tenants will break up the expanse of concrete.

- Staff appreciates the inclusion of monument sign location, however, a monument sign will require a separate permit and may not be approved as part of the site plan. To avoid any confusion, please add a note to clarify that the signage shown is not a part of this site plan approval.

Please amend.

Complied:		 Yes		 No

Response: The notation is added in the legend.

- Several items in the legend do not appear on the drawing. Please amend the legend per the redline. Pleas review all legends for accuracy.

Please amend.

Complied:		 Yes		 No

Response: Legend is revised. Of note, easements are shown on the plan and this linework remains in the legend.

- The 20 feet of concrete shown at the front or east elevation creates an uninterrupted sea of concrete. Please provide some relief. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: The sidewalk has been reduced in width a little. Patio furniture set by tenants will break up the expanse of concrete.

- Please refer to the redline relative to the conflicting information between the site plan and the south elevation drawings. This site plan was reviewed based on the site plan, without a drive through. Please clarify and make any corrections needed. For instance, a 6+ sidewalk runs the length of this side of the building which is not conducive to a drive thru in the same location.

Please amend.

Complied:		 Yes		 No

Response: A drive thru is proposed and the Site Plan is revised to reflect this.

- Parking requirements cannot be determined without additional information as to use. Please see redline for additional detail. Please provide square footage per use. (i.e. retail, restaurant, drive thru)

Please amend.

Complied:		 Yes		 No

Response: See Cover Sheet for building use breakdown.

LANDSCAPE PLAN

- Landscaping within the ROW cannot be used to meet on site landscape requirements. Please verify landscape calculations and provide a note that clarifies. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: The landscaping within the ROW does not count towards site landscape requirements.  A note has been added to state: (NOTE: LANDSCAPING WITHIN THE RIGHT-OF-WAY SHALL NOT BE COUNTED TOWARD ONSITE LANDSCAPING REQUIREMENTS).

- Please identify hatch as shown at SW corner of property. Please add to legend. Please see redline

Please amend.

Complied:		 Yes		 No

Response: This hatch has been labeled as APPROXIMATE LINE AND LOCATION OF FLOODPLAIN.

- Height and spread is shown on the plant list. Please clarify if this is at maturity?

Please amend.

Complied:		 Yes		 No

Response: The height and spread are at maturity. The plans have been revised to reflect this revision.

- Streetscape trees are required to be 2.5 caliper per the Construction specifications and design considerations for parks trails and streetscapes document. Please break out street trees as a category separate from deciduous tree and replace “overstory”.

Please amend.

Complied:		 Yes		 No

Response: All street trees have been upsized to 2.5" Cal Size.

- Deciduous shrubs are required to be 2-3 ft in height at maturity. Please see redline for species that are identified as non-conforming with this requirement.

Please amend.

Complied:		 Yes		 No

Response: The shrub height has been revised.

- Rock mulch is required to be 2-4 inch rock. 1-4 is specified in the plant list table.

Please amend.

Complied:		 Yes		 No

Response: The Rock Mulch has been revised to 2”-4” inches.

- Landscape calculation cannot include annuals. Please verify provided calculations and provide a note on the landscape plan that specifies that annuals have not been included in the landscape calculations. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: A note has been added that states: THESE CALCULATIONS DO NOT INCLUDE ANNUAL AREAS.

- Please review Lot Area calculations under Landscape Data-Lot 9. Please correct or clarify. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: This calculation has been revised.

- The calculations for Landscape Coverage appear to include non-living material. Please correct or clarify per redline comments.

Please amend.

Complied:		 Yes		 No

Response: This Calc/note has been revised to remove non-living material.

- Please review comments on redline for Streetscape Landscaping. Re-design of eastern street frontage will impact these calculations. Additionally, the number of trees provided appear to be less than are required.

Please amend.

Complied:		 Yes		 No

Response: Site plan changes has been revised to meet the town requirements.

- The Site Perimeter Landscaping section is incomplete. Please revise to include perimeter landscaping for the eastern property boundary per redline.

Please amend.

Complied:		 Yes		 No

Response: Site plan changes has been revised to meet the town requirements.

- The Town Signature Block provided is not needed as site plans are approved administratively. Please remove

Please amend.

Complied:		 Yes		 No

Response: The signature block has been removed but left in the CD's.

- The Landscape Details sheet includes a note (12) addressing sod. The landscape plan states that no turf will be used. Please remove reference/s to sod.

Please amend.

Complied:		 Yes		 No

Response: This note has been removed.

- The seed mix specified does not correspond with any of the native seed mixes in the Construction Specifications and Design Considerations for Parks Trails and Streetscapes manual. Please revise.

Please amend.

Complied:		 Yes		 No

Response: The seed mix has been revised to Town Approved seed mix.

EXTERIOR ELEVATION

- The south elevation appears to show a drive up window. This is inconsistent with the site plan. Please revise.

Please amend.

Complied:		 Yes		 No

Response: Site plan revised to provide curb configuration to support a drive window.

- Please provide detail of planter box on west elevation side.

Please amend.

Complied:		 Yes		 No

Response: Planter box detail added sheet 8 of 12.

- Please call out transparency on building and add to material table.

Please amend.

Complied:		 Yes		 No

Response: Notation added for clear glazing GL-1 to material legend and notes added to elevations.

- Please provide cornice detail.

Please amend.

Complied:		 Yes		 No

Response: Standard parapet detail and decorative parapet detail added. See sheet 8 of 12.

- Please provide trellis detail and add materials to materials table. A physical sample is also needed for the trellis material.

Please amend.

Complied:		 Yes		 No

Response: Trellis details added sheet 9 of 12 for standard trellis and faux trellis.

- EIFS is not a quality material, particularly at such a predominant location. Please consider replacing with a more decorative material. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: The EIFS provided creates visual depth and would hi-light the brick elements of the building. It is the preference of the applicant and design team to leave the EIFS areas.

- The west elevation is the most prominent elevation for this site.  It needs to more closely mimic a front or east elevation. More plane change is needed as well as the addition of architectural features that more closely resemble the front, or east elevation, such as trellis detail and exterior lighting. Please review the mock up suggestions provided on sheet 9 or 12. Staff is open to other options that meet the intent.

Please amend.

Complied:		 Yes		 No

Response: Faux trellis elements and additional lighting have been added. Also, as suggested the Southeast corner of the building has been enhanced with additional brick and raised parapet. The brick will be provided as a pilaster with depth from the façade to allow frosted storefront to be provide at the top of the element. It is the intent to then provide back lighting to the glazing and create a element that will provide interest not only in the day but at night as well.

- A section of the base treatment appears to be missing from the bottom left corner of the west elevation drawing. Please clarify or correct.

Please amend.

Complied:		 Yes		 No

Response: Revised.

- West elevation shows two doors that appear to be transparent and three that are not identified. Please clarify all of these, including color if applicable.

Please amend.

Complied:		 Yes		 No

Response: Storefront doors and glazing type have been noted. Additional doors are hollow metal and are noted with paint color.

- Brick #1 is not called out on the elevations on sheet 9 of 12. Please review elevations to ensure that all materials are identified and included in the exterior materials legend.

Please amend.

Complied:		 Yes		 No

Response: Additional notations for brick #1 have been added.

PHOTOMETRIC PLAN

- Please revise calculation in the statistics table to reflect only positive numbers.

Please amend.

Complied:		 Yes		 No

Response: Calculation table has been revised.

- Decorative wall lighting is not shown. Please ensure that these lights are included in the statistics calculations.

Please amend.

Complied:		 Yes		 No

Response: Additional lighting levels added for building mounted lighting.

- Based on the lumens values shown, there are no lights on the west side of the building. This elevation includes multiple doors and should be lite. Pockets of darkness on this side of the building only accentuate the impression of “back of house”. Please see reline and revise.

Please amend.

Complied:		 Yes		 No

Response: Lighting added to photometric on the west side of the building.

- No cut sheet for decorative wall lighting has been provided.

Please amend.

Complied:		 Yes		 No

Response: Provided.

- Luminaire schedule is missing fixtures and no quantity column for it has been provided.

Please amend.

Complied:		 Yes		 No

Response: Provided.

DESIGN GUIDELINES

A highlighted copy of the Design Guidelines has been provided to the applicant to provide additional clarity.

- The Administrative Review section allows a “Minor Amendment” for changes such as building location and parking requirements. This is inconsistent with Town regulations. Differentiation between a minor or major amendment will be at the discretion of the Town. Please revise.

Please amend.

Complied:		 Yes		 No

Response: Revised.

- In the event that an application is denied, the applicant has the right to appeal to the Planning Commission only. Please remove reference to the Town Council in the Administrative Review section.

Please amend.

Complied:		 Yes		 No

Response: Revised.

- Site plans are not conceptual under any circumstances. Each lot will be submitted and approved individually. An approved site plan must be adhered to, no changes or modifications may be made without prior approval. A site plan amendment may be required based on the reason the change is needed and the type and scale of changes or modification. Please revise language in the Administrative Review section to remove any confusion related to changes and amendments.

Please amend.

Complied:		 Yes		 No

Response: Revised.

- Allowable square footage of Shopping Center signage will be based on Town of Parker regulations and cannot be determined at this time. Please remove specific square footage from the signage section

Please amend.

Complied:		 Yes		 No

Response: Revised.

- Luminaires may not exceed the height of the building and in no instance may they exceed 30’. Please remove specific heights from the site lighting section. Additionally, all lighting must be fully shielded. Please note.

Please amend.

Complied:		 Yes		 No

Response: Revised.

- Under Plant Material section, please revise 1” to 4” for rock mulch.  2-4 is required

Please amend.

Complied:		 Yes		 No

Response: The Rock Mulch has been revised to 2”-4” inches.

- Please review submitted site plan architecture against the design guidelines submitted for this shopping center. Several standards listed under Architectural Massing and Scale have not been met by this design. Please see redline.

Please amend.

Complied:		 Yes		 No

Response: Timbers or rough sawn wood is to be used for the proposed trellis elements. The elevations were designed with the continuation of elements to all four sides of the structures with consistent brick patterning, glazing, and projected pilasters. The applicant has also at the Town’s request added faux trellis elements, enhanced corner treatment on the west facades of both buildings. Elevations may have not been explicit or descriptive of the proposed projections originally planned. The tower is to have 2’-0” depth and most pilaster treatments along the West façade were to project 8” from the primary exterior wall.

- Town of Parker requires 360 degree architecture. Please revise language regarding rear and parking facades to reflect Town requirements.

Please amend.

Complied:		 Yes		 No

Response: Revised.

OUTSIDE REFERRAL AGENCY COMMENTS

- Please address all outside referral agency comments with a written response.  These comments are available on etrakit.

Complied:		 Yes		 No

Response:

Centennial Airport: requests an Avigation Easement. The applicant does not object to this request.

Douglas County: The applicant has been in conversation with the Historical group and is working to accommodate their requests.

_______________________________________		__________________

Property Owner								Date

_____________________________________			__________________

Project Representative							Date