Staff Comments

Parker Auto Plaza F1 L1 B3 - Retail Preliminary Site Plan [Planning Case No. SP18-047]
January 10, 2019
Page 16 of 18

[image: image1.jpg]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:
Kimley-Horn Attn Dan Skeehan

      4582 South Ulster, Suite 1500

      Denver, CO 80237
FROM:
Carolyn Parkinson Planner I
DATE:
1.10.19
SUBJECT:  Parker Auto Plaza F1 L1 B3 - Retail Preliminary Site Plan
The following are the comments regarding your application.  All comments must be responded to, and if you disagree with a comment please indicate the reasoning of your disagreement.  Please sign and return this memo with your next submittal.  
TOWN OF PARKER PLANNING DEPARTMENT:  

ATTN: 

E-MAIL:  


FAX:  303-841-3223

PHONE:  303-841-2332
STAFF COMMENTS TO APPLICANT REFERRAL RESPONSES SUBMITTED 12/11/18

The following are 2nd referral comments to address the referral response document submitted to eTRAKiT on December 11, 2018. New referral comments resulting from the most current submittal will be provided at the end of this section and in a different format. Please ensure that all comments from both formats have been addressed. 
Many original comments from staff have not been addressed, or not adequately addressed. Comments that remain unresolved or inadequately addressed following this review will inform staff’s recommendation for approval or denial following a third and final review. Please ensure that all comments have been satisfied prior to resubmittal. Staff is always available to discuss comments with the applicant outside of the referral process. 
Original staff comments and applicant responses have been left in the format in which they were submitted, with 2nd submittal staff comments added in blue below the applicant’s response. Please submit response document in WORD format. This allows staff to retain previous comments for context and add new comments.
Parker Auto Plaza Planned Development (PD) Zoning
Parker Auto Plaza PD zoning Section III.D.4 & 8: Minimum building setbacks: Front: 25’ from public streets, Side: 25’, Rear: 25’. For lots which abut Parker Road or 20 Mile Road, the front yard setback, and at least 1 side yard setback shall be considered a build-to lines. At least 3 points of the building must touch this setback line and at least 30% of the building footprint area must be within 40’ of the setback line.
Standard Met:  ☐ Yes
☐ No        ☐ N/A     ☒ Unable to Determine
Analysis: The intent of the above zoning requirement is to create meaningful, attractive and significant building architectural interest and variation at prominent site corners and along highly visible street frontages. Staff is unable to determine at this time whether the building(s) proposed on Lot(s) 1, 2, 3, 5 and 7 meets the above zoning requirement(s) and/or creates meaningful, attractive and significant building architectural interest and variation at prominent site corners and street frontages. Staff has provided a zoning analysis for each lot below:
· Lot 1: Staff is unable to determine from the site plan and building elevations submitted if meaningful, attractive and significant building architectural interest and variation is being created along the Pine Lane frontage. The building footprint on the site plan does not depict primary building wall(s) variation(s) on the north facing elevation(s) and the trellis proposed on the north side of the “Retail A” building appears to be a utility screen wall rather than a meaningful, attractive building architectural element that is required to touch the 25’ setback line on Pine Lane. Please amend the site plan and building elevation(s) to meet the above requirements and create meaningful, attractive and significant building architectural interest and variation(s) along Pine Lane. Staff suggests that the plan be amended to project the center portion(s) of the building, (as well as other segments of the building) north (to touch the 25’ setback line – rather than the trellis proposed). Staff requests that the applicant depict more clear and transparent glass windows on both the east and north facing elevations of the building (especially on the northeast corner) to create meaningful, attractive and significant building architectural interest and variation. Please see attached examples of other projects that accomplish architectural interest and variation.
Screening walls do not meet the requirement for the building to touch the set back. Please see redline. 

The setback requirements are intended to vary the footprint thru changes in plane and bring the building closer to the road. This is the building front, which as shown neither creates changes in plane nor brings the building closer to the roadway.  The screening walls shown do not constitute the requirement for the building to 'touch the setback'. They are not part of the building, they do not connect to the building, or have a roof or other interior boundaries that make the area part of the building.  Canvas canopies are not a roof. Please consider staff’s suggestion to project the center portion of the building or suggest some other way to meet this requirement. 
· Lot 2: Staff is unable to determine if this requirement is being met at this time. The site plan submitted depicts one (1) point of the primary building touching the 25’ setback line. The site plan depicts what appears to be an architectural element touching two (2) points of the 25’ setback line however it is unclear if this architectural element will create meaningful, attractive
and significant architectural interest and variation along Parker Road. The site development plan submitted for Lot 2 will be required to meet the zoning requirements and create meaningful, attractive and significant architectural interest along Parker Road.

Staff still cannot determine if requirement is met based on the submitted documents. Please see redline. 

Only one point of the actual building touches set back. Without an elevation, staff is unable to determine if this layout meets the requirement. Setback requirements will only be satisfied if the projections shown on the plan are physically and architecturally part of the main structure and create meaningful, attractive and significant architectural interest along Parker Road. Please add a note to the preliminary site plan that states;
‘Canopies and Portico’s that are proposed at final site plan to meet the zoning requirements for setback proximity must be physically and architecturally connected to the primary structure and must create meaningful, attractive and significant architectural interest along Parker Road and/or Pine Lane.’
· Lot 3: Staff is unable to determine if this requirement is being met at this time. The site plan depicts what appears to be four (4) architectural elements touching the 25’ setback line along Parker Road however it is unclear if these architectural elements will create meaningful, attractive and significant architectural interest and variation along Parker Road. The site development plan submitted for Lot 3 will be required to meet the zoning requirements and create meaningful, attractive and significant architectural interest along Parker Road.
Staff still cannot determine if requirement is met based on the submitted documents. Please see redline. 

Staff has insufficient information to determine if this lot meets the requirement for three points touching the set back. Setback requirements will only be compliant if the projections shown on the plan are physically and architecturally part of the main structure and create meaningful, attractive and significant architectural interest along Parker Road. Please add a note to the preliminary site plan that states;

‘Canopies and Portico’s that are proposed at final site plan to meet the zoning requirements for setback proximity must be physically and architecturally connected to the primary structure and must create meaningful, attractive and significant architectural interest along Parker Road and/or Pine Lane.’
· Lot 4: The building proposed on Lot 4 appears to meet the above requirement by creating meaningful and significant architectural interest and variation along Parker Road. The site development plan application(s) submitted for Lot 4 will be required to meet the above zoning requirements and create meaningful, attractive and significant architectural interest along Parker Road.
· Lot 5: Development on Lot 5 is not subject to the build to requirement above however staff is requesting that the building (rather than the drive through lanes) be located as close to the private access and Pine Lane corner as possible.  The site plan depicts what appears to be four(4) architectural elements touching the 25’ setback line along Pine Lane however it is unclear if these architectural elements will create meaningful, attractive and significant architectural interest and variation along Pine Lane. The site development plan submitted for Lot 5 will be required to create meaningful, attractive and significant architectural interest along Pine Lane.
Staff cannot determine compliance with requirement for contact between building and set back based on submitted documents. Please see redline.

Insufficient information to determine if this lot meets the requirement for three points touching the set back. Setback requirements will only be compliant if the projections shown on the plan are physically and architecturally part of the main structure and create meaningful, attractive and significant architectural interest along Parker Road. Please add a note to the preliminary site plan that states;

‘Canopies and Portico’s that are proposed at final site plan to meet the zoning requirements for setback proximity must be physically and architecturally connected to the primary structure and must create meaningful, attractive and significant architectural interest along Parker Road and/or Pine Lane.’

· Lot 6: Development on Lot 6 is not subject to the build to requirements above however staff is requesting that the proposed hotel building and porte-cochere entrance face Parker Road and/or frame the internal access drives to the north to create a sense of place and an inviting image into the development on Lot 6.
No changes, as requested by staff, were made to the building orientation. A primary goal of the preliminary site plan is to establish building orientation. The Commercial Industrial and Multifamily Design Guidelines require that buildings face the primary roadway whenever possible. Please revise the building orientation so that the building front faces Parker Road.  
Pedestrian paths as requested by previous comments have not been provided. Noted 6 ft grade might require steps, but ADA access is provided elsewhere, so stairs are permitted. Pedestrian connectivity is required by both the Town of Parker Land Development Code and the Commercial Industrial and Multifamily Design Guidelines. The requested connection between the central drive aisle and the recreational path is required to provide adequate internal pedestrian access to the recreational path. Pedestrian access to the adjacent front entrances as shown on redline are also required. Please add pedestrian paths as shown on redline. 
· Lot 7: Staff is unable to determine if this requirement is being met at this time. The site plan depicts what appears to be one (1) point of the primary building touching the 25’ setback line along 20 Mile Road. The site plan depicts what appears to be an architectural element touching two (2) points of the 25’ setback line on 20 Mile Road however it is unclear if these architectural elements will create meaningful and significant architectural interest and variation along 20 Mile Road. The site development plan submitted for Lot 7 will be required to meet the zoning requirements and create meaningful, attractive and significant architectural interest along Parker Road.
Staff counts two points of contact on the building orientation as shown, three are required. Changes to the building footprint will be required to meet the requirements of the Commercial Industrial and Multifamily Design Standards. (Please see elevation comments on page 17, comment #17) This may provide opportunities to meet the setback proximity requirements. Please see redline.

Response: The proposed buildings on lots 1 and 7 touch the 25’ set back. Features on the rear of the Lot 1 building have been upgraded to add significant architectural interest with articulated screen walls and colored fabric coverings between the screen wall and the building (see sheet 9 of 11).
Monument signs are located at the three entrance locations, and the northeast corner of the site. Additional landscaping is also provided at these locations (see sheet 6)
Commercial, Industrial & Multi-Family Design Standards
III.1 Site Design Standards
1.1 Adjacent Sensitivity
Intent: Protect significant natural features and resources in order to minimize the impacts of development on the environment and create open space amenities, when possible. Examples of such areas include the
Cherry Creek Corridor, Black Forest, andhillsides.
Standard Met:  ☐ Yes
☒ No        ☐ N/A     ☐Unable to Determine
Analysis: Please amend Sheet 6 of 10 to depict more (evergreen) trees, (dense) shrubs and attractive screen walls along the southern boundary of this parcel to beautify and increase the landscape buffer between the recreation path area(s) and the commercial development proposed.
Response:  Existing recreating path is 6-ft below the Site.  Screening is provided by existing retaining wall, topography, and proposed landscaping. Additional trees added adjacent to Lot 4.

Staff appreciates the addition of a few trees. The wall section that has been added is identified as a retaining wall however, as opposed to a attractive screen wall as requested by staff and highlighted above. Please see redline and amend/clarify. 

Please note that additional landscaping enhancements will be required at final site plan for lots 4 and 6 in keeping with the previous request for greater density of plant material and attractive screen walls.  Please provide a note on the preliminary site plan that reflects this requirement, or add landscape area that addresses these screening concerns. A note could read; ‘Additional enhanced landscape density will be required along the southern boundary of lots 4 and 6 and is subject to approval by the Town.’
1.2 Site Development
Intent: Establish a set of site design principles that will provide a cohesive framework for development. Encourage a diversity of development forms and scales by providing for a variation in site plan designs.
Standard Met:  ☐ Yes
☒ No        ☐ N/A     ☐ Unable to Determine
Analysis: In order to meet this requirement please amend the plans for the northeast corner of the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the corner is most prominent and highly visible corner of the development that should beautified. Please also amend the plans for the north and south side of the right-in right-out on Parker Road to include a meaningful, attractive and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that this is a prominent and highly visible entryway into the development. Please also amend the plans for the Pine Lane vehicular access into the site to include a meaningful, attractive and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the entrance is a prominent and highly visible entrance into the development. Please also amend the plans for the Twenty Mile Road vehicular access into the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the entrance is a prominent and highly visible entrance into the development
Response: Monument signs are located at the three entrance locations, and a new monument sign was added to the northeast corner of the site. Additional landscaping is also provided at these locations

Color elevations show an entrance arch, but no monument sign. If they are one in the same, please show the monument arch on all relevant sheets. 

Please note that additional landscaping enhancements will be required at site plan for lot 1 to activate the sites outdoor spaces and provide a strong connection to the public realm. Please provide a note on the preliminary site plan that states; ‘To activate the sites outdoor spaces and provide a strong connection to the public realm, additional landscaping will be required at the NE corner on Lot 1’ and will be subject to approval by the Town.
Staff appreciates the added landscape area at the east and west entrances, however, the enhanced landscape areas need to be expanded to create the prominent and highly visible entryway required. Please expand landscape areas.
1.3 Building Location and Orientation
Intent: Orient primary structures to the primary street and complement existing, adjacent development to create a coordinated and visually attractive streetscape.
Standard Met:  ☐ Yes
☒ No        ☐ N/A     ☒ Unable to Determine
Analysis: Please amend the plans for the northeast corner of the site to include a meaningful, attractive and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the corner is most prominent and highly visible corner of the development. Please also amend the plans for the south and north side of the right-in right-out on Parker Road to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that this is a prominent and highly visible entryway into the development. Please also amend the plans for the Pine Lane vehicular access
into the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the entrance is a prominent and highly visible entrance into the development. Please also amend the plans for the Twenty Mile Road vehicular access into the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the entrance is a prominent and highly visible entrance into the development.

Color elevations show an entrance arch, but no monument sign. If they are one in the same, please show the monument arch on all relevant sheets. 

Please note that additional landscaping enhancements will be required at site plan for lot 1.  Please provide a note on the preliminary site plan that states; ‘To activate the sites outdoor spaces and provide a strong connection to the public realm, additional landscaping will be required at the NE corner on Lot 1. And will be subject to approval by the Town’. 

Staff appreciates the added landscape area at the east and west entrances, however, the enhanced landscape area needs to be expanded to create the prominent and highly visible entryway required. Please expand landscape areas.
Staff suggests that the Retail A building be amended to project the center portion(s) of the building, (as well as other segments of the building) north (to touch the 25’ setback line – rather than the trellis proposed). Staff requests that the applicant depict more clear and transparent glass windows on both the east and north facing elevations of the building (especially on the northeast corner) to create meaningful, attractive and significant building architectural interest and variation. Please see attached examples of other projects that accomplish architectural interest and variation.
Staff appreciates the additional transparency and architectural mass. The proposed screening walls however, do not meet the requirement for the building to touch the set back. Please consider staff’s suggestion to project the center portion of the building or suggest some other way to meet this requirement. 
Please see redline. 
Please amend the plans to depict more evergreen landscaping and a more detailed depiction of the screen wall(s) will be needed to determine the adequacy of the screening of the garage bays of the car wash proposed on Lot 4.
Response: Monument signs are located at the three entrance locations, and a new monument sign was added to the northeast corner of the site. Additional landscaping is also provided at these locations
Site is 4-ft below Parker Road and evergreen trees are proposed to screen the carwash bays from vehicles. Additional landscaping details will be provided during the final site plan phase.
Staff appreciates the added landscape area. Additional evergreen trees were requested however and have not been provided. Please add evergreen trees to further screen the car wash from Parker road. Though additional detail was requested for the screening walls, staff agrees that this detail can be provided at final site plan for lot 4.  
1.4 Pedestrian Access
Intent: Create a safe, continuous pedestrian network that minimizes conflict with automobile movement while promoting a convenient option for pedestrian movement within and between developments. See Figures 3.5.
Standard Met:  ☐ Yes
☒ No        ☐ N/A     ☐ Unable to Determine
Analysis: In order to meet this requirement, please amend the plans to depict detached sidewalks in the location(s) as identified on the attached redline. Please amend the plans to depict a pedestrian connection to the adjacent pedestrian/recreation path to the south. Please identify the crosswalks on the plans and key notes as scored, colored concrete.
Response: Detached sidewalks shown where possible. Additional sidewalk connections provided to link various buildings. As discussed, not all 'redlined' connections are needed or provided. As discussed, sidewalk connection to the adjacent pedestrian/recreation path to south possible adjacent to 20 Mile Road and Parker Road. Connection at center of site not possible due to 6-ft grade difference (stairs would be required). Notes added to plan calling for colored concrete.

Based on the applicant’s decision to use attached sidewalks in these areas rather than detached, landscape requirements will have to be satisfied elsewhere on a lot by lot basis. 

Pedestrian paths as requested by previous comments have not been provided. Noted 6 ft grade might require steps, but ADA access is provided elsewhere, so stairs are permitted. Pedestrian connectivity is required by both the Town of Parker Land Development Code and the Commercial Industrial and Multifamily Design Guidelines. The requested connection between the central drive aisle and the recreational path is required to provide adequate internal pedestrian access to the recreational path. Pedestrian access to the adjacent front entrances as shown on redline are also required. Please add pedestrian paths as shown on redline.
1.5 Vehicular Access
Standard Met:  ☒ Yes ☐ No        ☐ N/A     ☐ Unable to Determine
Analysis: The main drive aisles of are continuous and connect to the main entrances of the site. Stop signs are used at intersections and pedestrian crosswalks (per requirements) will be distinct from asphalt paving (via colored concrete) to increase visibility. These requirements are met.
Response:   Acknowledged.    Pavement material added  to plan and  legend  calling for colored  concrete.
1.6 Screening
Standard Met:  ☐ Yes
☐ No        ☐ N/A     ☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted will be required to meet the above requirements by depicting utility meters, rooftop mechanical equipment, building mounted utility cabinets, etc. and their respective required screening.
Response: Acknowledged.
III.2 Architectural Standards
III.2.B. Architectural Elements and Articulation
Standard Met:  ☐ Yes  ☐ No        ☒ N/A     ☒Unable to Determine
Analysis: Individual site development plan application(s) submitted will be required to meet the above requirements. The “Retail A” building as proposed does not meet the above requirements. Three (3) of the customer entrances on the south elevation of the “Retail A” building are missing canopies over the customer entryways and the building footprint of the “Retail A” building depicted on the site plan is inconsistent with the building wall articulations depicted with the conceptual elevations of the “Retail A” building. Please amend the building elevations and site plan to be consistent with the conceptual elevations provided.
Staff suggests that the plan be amended to project the center portion(s) of the Retail A building, (as well as other segments of the building) north (to touch the 25’ setback line – rather than the trellis proposed). Staff requests that the applicant depict more clear and transparent glass windows on both the east and north facing elevations of the building (especially on the northeast corner) to create meaningful, attractive and significant building architectural interest and variation. Please see attached examples of other projects that accomplish architectural interest andvariation.

Response: Plans revised to include the canopies and building articulation shown in the Retail A conceptual elevations.
Staff appreciates the additional transparency and architectural mass. The proposed screening walls however, do not meet the requirement for the building to touch the set back. Please see redline. 

The setback requirements are intended to vary the footprint thru changes in plane and bring the building closer to the road. This is the building front, which as shown neither creates changes in plane nor brings the building closer to the roadway.  The screening walls shown do not constitute the requirement for the building to 'touch the setback'. They are not part of the building, they do not connect to the building, or have a roof or other interior boundaries that make the area part of the building.  Canvas canopies are not a roof. Please consider staff’s suggestion to project the center portion of the building or suggest some other way to meet this requirement. 
III.2.C Building Materials
Intent: Building materials shall present an image of high quality and permanence.
1) Predominant exterior building materials shall be high quality, durable material such as, but not limited to: brick, wood lap siding, sandstone or other native stone, integrally colored, textured, or glazed concrete masonry units, pre-finished metal panel systems, high quality pre-stressed concrete systems, and water managed Exterior Installation Finish Systems (EIFS).
2) Exterior building materials shall not include the following: split shakes, rough sawn or board and batten wood, smooth-faced gray concrete block, painted concrete block, tilt-up concrete panels, field painted or pre-finished standard corrugated metal siding, standard single or double tee concrete systems, or barrier type EIFS.
3) Standards III.2.C.1 and III.2.C.2 can be waived if a project demonstrates the application of a material which satisfies the above intent statement.
4) All sides of the building shall include materials consistent with those on the front.
5) For hotels and motels, façade area at least equal to the total façade area of the first floor walls, shall be surfaced in brick or natural stone. The remainder of the exterior may be surfaced in stucco, water managed EIFS, integrally dyed decorative concrete or ceramic masonry units. Metal or vinyl siding is prohibited.
6) Applicants are required to submit a sample material board.
Standard Met:  ☐ Yes
☐ No        ☐ N/A     ☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted will be required to meet the above requirements. The “Retail A” building meets the above requirements however the building requires an additional  material,  texture  and/or  color  variety  to  present  an  attractive  image  of  high  quality
development and  architecture.  Staff requests that the applicant amend the building elevations and colors/materials palate to improve the look of the building per this suggestion.
Response: Storefront has been added to the northeast corner and to Pine Street rear exits of 3 tenant suites, upper wall window fenestration has been added to the Pine Street facade, two colors of modular brick, cedar wood accent siding , EIFS and prefinished metal along with colorful fabric canopies at the east gathering area and color fabric along Pine Street complete the variety of materials and textures. See rendering sheets 9 and 10.
Staff appreciates the additional transparency and architectural mass. While staff appreciates the addition of the second story windows on the NW corner, the exclusion of the lower floor windows does not result in a net gain of transparent material, and so does not provide additional articulation. Staff suggests canopies, not unlike those provided on the south elevation over for the added upper story windows to provide added articulation. 
Second request-Please add the following note(s) to the elevations, "Design shown is preliminary.  Final Architecture shall be approved at the time of final site plan approval.

Please see redline. 
III.2.D Colors
Standard Met:  ☐ Yes
☐ No        ☐ N/A     ☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted will be required to meet the above requirements. The “Retail A” building meets the above requirements however the building requires an additional material texture, and/or color variety to present an attractive image of high quality development and architectural interest. Staff requests that he applicant amend the building elevations and colors/materials palate to improve the look of the building per this suggestion.
Response: Similar to the response above, storefront has been added to the northeast corner and to Pine Street rear exits of 3 tenant suites, upper wall window fenestration has been added to the Pine Street facade, two colors of modular brick , cedar wood accent siding , EIFS and prefinished metal along with colorful fabric canopies at the east gathering area and color fabric along Pine Street complete the variety of materials and textures. See rendering sheets 9 and 10.
Please see comment above. 

Land Development Ordinance
13.06.050 - Off-street parking and internal circulation.
(c) Shared parking.
Standard Met:  ☐ Yes
☐ No        ☒ N/A     ☐ Unable to Determine
Analysis: N/A – The plat will be required to dedicate a blanket cross lot parking agreement for all of the lots being platted.
Response: Developer prefers to regulate shared parking through a Master Declaration, not a blanket easement.

The applicant may also use a Master Declaration, but a blanket cross lot parking agreement is required. The agreement itself will be provided by the Town and will includes the Town to ensures that the access will remain in perpetuity. 
(5) Drive-through, vehicle stacking and queuing.  
Standard Met:  ☐ Yes
☒ No        ☐ N/A     ☐ Unable to Determine
Analysis: The drive through facilities and related stacking areas on Lot 3 and Lot 5 are not adequately bermed or screened.    Please amend the plans to meet this requirement.
Response:  Site is several feet below bellow Parker Road and Pine Lane, berming is not necessary to shield adjacent traffic from headlights.
Staff has further analyzed the grade in these two locations. Berming/ screening is necessary as the grade change is only 3-4 ft. and does not adequately screen the stacking areas. Please amend. 
(e) Accessible parking spaces.  
Standard Met:  ☒ Yes
☐ No        ☐ N/A     ☐ Unable to Determine
Analysis: The site plan depicts ADA accessible vehicle parking for each lot and development proposed. This requirement is met.
Response: Acknowledged.
(f) Parking space size.
Standard Met:  ☒ Yes
☐ No        ☐ N/A     ☐ Unable to Determine
Analysis: The site plan depicts standard vehicle parking spaces measuring 9’ in width and 18’ in length and vehicle parking spaces adjacent to landscape islands 10’ in width and 18’ in length. This requirement is met.
Response: Acknowledged.
(g) Internal vehicular access and circulation.
Standard Met:  ☒ Yes
☐ No
☐ N/A
☐ Unable to Determine
Analysis: All parking areas are provided with ingress and egress to improved rights-of-way and internal circulation drives and aisles create through-traffic patterns. Internal drive widths are 26’ in width and no pedestrian crossing exceeds 26 feet. These requirements are met.
Response: Acknowledged.
(h) Parking location.
Standard Met:  ☒ Yes
☐ No
☒ N/A
☐ Unable to Determine
Analysis: The required off-street parking facilities are provided on the same lot as the building or use served. This requirement is met.
Response: Acknowledged.
(i) Parking lot layout and design.
Standard Met:  ☐ Yes
☒ No
☐ N/A
☐ Unable to Determine
Analysis: Please amend the plans to depict pedestrian pathways as identified on the attached redline. Response: Additional sidewalk connections provided to link various buildings. As discussed, not all 'redlined' connections are needed or provided.

Pedestrian paths as requested by previous comments have not been provided. Pedestrian connectivity is required by both the Town of Parker Land Development Code and the Commercial Industrial and Multifamily Design Guidelines. The requested pedestrian connections as shown on redline are required to provide adequate internal pedestrian access and access to the recreational path. Please see redline and amend.
(j) Parking lot maintenance.
Standard Met:  ☒ Yes
☐ No
☐ N/A
☐ Unable to Determine
Analysis: The parking lots proposed are surfaced with asphalt and will be required to be properly graded for drainage. Parking space stripes will be required to be painted 4” wide. These requirements are met.
Response: Acknowledged.

13.06.060 - Amount of off-street bicycle parking spaces required.
(c) Number of bicycle parking spaces required.
Standard Met:  ☐ Yes
☒ No
☐ N/A
☐ Unable to Determine
Analysis: Please amend the plans to depict bicycle parking that is in compliance with the requirements above.
Response: Bike racks (25 spaces total) added to the site plan.

   Staff could not locate a bicycle rack on lot 4. Please advise staff of location. 
(d) Bicycle parking facility design standards.
Standard Met:  ☐ Yes
☒ No
☐ N/A
☐ Unable to Determine
Analysis: Please amend the plans to depict bicycle parking facilities that is in compliance with the requirements above.
Response: Bike racks (26 spaces total) added to the site plan.

Staff could not locate a bicycle rack on lot 4. Please advise staff of location.
(e) Shared bicycle facilities are permitted when they are located no further than one thousand (1,000) feet from all the buildings and uses they are intended to serve.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: No bicycle parking is depicted on the plan. Please amend the plans to depict bicycle parking and bicycle parking facilities that are in compliance with the requirements above.
Response: Bike racks (26 spaces total) added to the site plan.

  Staff could not locate a bicycle rack on lot 4. Please advise staff of location.
13.06.070 - Landscape regulations.
( c) Types of landscaping required.
Standard Met: ☐ Yes ☐ No
☐ N/A  ☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(f) Xeriscape requirements.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(g) Plant Material Specifications.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(h) Planting standards.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(i) Nonliving landscape material standards.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(j) Irrigation requirements.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(k) Maintenance requirements.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(l) Minimum site landscaping standards.
Standard Met:  ☐ Yes
☐ No
☐ N/A
☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(m) Streetscape landscaping.
Standard Met:  ☐ Yes
☒ No
☐ N/A
☐ Unable to Determine
Analysis: Please see attached redlines and remove trees proposed within sight distance triangles. Please amend the plans to depict tree lawns (to allow for adequate spread at maturity for street lawn trees) and detached 5' wide sidewalks as identified on the attached.
Response: As discussed, comment addressed by a combination of pulling trees into the site (out of the site triangles) or replacing with shrub equivalents.  Detached sidewalks shown where possible.

Based on the applicant’s decision to use attached sidewalks in these areas rather than detached, landscape requirements will have to be satisfied elsewhere on a lot by lot basis. 

(n) Parking lot perimeter landscaping.
Standard Met: ☐ Yes
☒ No   ☐ N/A  ☐ Unable to Determine
Analysis: Please amend the landscape buffer on the west side of Lot 3 to meet be a minimum of 6’ in width (please see attached redline).
Response: Plan revised to provide 6-ft wide landscaping island, as measured from back of curb to back of curb.
(o) Parking lot interior landscaping.
Standard Met:  ☐ Yes
☐ No        ☐ N/A     ☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements. Please identify the percentage(s) of parking lot landscape islands on Lot(s) 1-7.
Response:  Parking lot landscaping island percentages added to plan.
(p) Site Perimeter Landscaping Requirement.
Standard Met:  ☐ Yes
☐ No        ☐ N/A     ☒ Unable to Determine
Analysis: Individual site development plan application(s) submitted for each lot will be required to meet the above requirements.
Response: Acknowledged.
(q) Additional areas to be landscaped.
Standard Met:  ☐ Yes
☒ No         ☐ N/A     ☐ Unable to Determine
Analysis: Please amend the plans for the northeast corner of the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the corner is most prominent and highly visible corner of the development. Please also amend the plans for the south side of the right-in right-out on Parker Road to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that this is a prominent and highly visible entryway into the development. Please also amend the plans for the Pine Lane vehicular access into the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the entrance is a prominent and highly visible entrance into the development. Please also amend the plans for the Twenty Mile Road vehicular access into the site to include a meaningful and significant landscape wall/monument sign with a formal landscape character that creates a sense of place and acknowledges that the entrance is a prominent and highly visible entrance into the development.
Response:  Refer to sheets 9 and 10 illustrating a new arched gateway at the Parker & Pine corner that creates an inviting pedestrian path down steps to the gathering area. Additional landscape areas compliment these architectural features. The massing of the northeast corner of the building has been revised with horizontal element including the addition of upper fenestration which will enhance the presence of the building at the northeast corner with opportunities for views into the building and night illumination from the windows.
Monument signs are located at the three entrance locations, and a new monument sign was added to the northeast corner of the site. Additional landscaping is also provided at these locations

Color elevations show an entrance arch, but no monument sign. If they are one in the same, please show the monument arch on all relevant sheets. 

Please note that additional landscaping enhancements will be required at site plan for lot 1. Please provide a note on the preliminary site plan that states; ‘To activate the sites outdoor spaces and provide a strong connection to the public realm, additional landscaping will be required at the NE corner on Lot 1’ and will be subject to approval by the Town.

Staff appreciates the added landscape area at the east and west entrances, however, the enhanced landscape areas need to be expanded to create the prominent and highly visible entryway required. Please expand landscape areas.
NEW COMMENTS

The following are new comments resulting from the most current submittal. Typically, the following format is the referral format used by planning, but in the interest of retaining all comments in their original form, this format is only being used for new comments. Please submit response document in WORD format.  This allows staff to retain previous comments for context and add new comments. 

GENERAL COMMENT

1. Please note that evidence of an agreement with the Parker Auto Plaza Metro District will be required prior to approval of any final site plans for the individual lots. 
Please acknowledge.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

2. Canvas patio covers are not considered permanent roofing material. While canvas can be used effectively during summer months, Colorado’s climate makes maintenance expensive and often results in faded and worn architectural elements. Please consider some other form of patio covering, wood slat for instance.  
Please acknowledge.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________
SITE PLAN SHEET 1 of 11
3. Please include minimum lot widths in the site data table to ensure compliance with the minimum lot width stated in the PD of 150 ft. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

4. Site Data Table indicates that lot 7 does not meet minimum ‘build to’ requirements. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

5. Site Data Table indicates significantly more parking that is required. The Town wishes to avoid overparking as a ‘sea’ of parking is not only unsightly but an inefficient use of a limited resource, land. Please provide evidence that the excess parking is warranted by the proposed use. 
Please clarify.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________
6. Site Data Table indicates that lot 6 does not meet maximum F.A.R. requirements. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

7. Site Data Table contains an incorrect unit type for LOT/TRACK GROSS AREA. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

8. Site Data Table indicates contains an error in each location where ‘track’ is used. Should be ‘tract’. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

9. Please add revision dates to all sheets. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

10. Please add concrete hatch to legend. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

11. Please identify what appears to be a screen wall on the east side of Retail A building as shown on redline. 
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

12. Please identify rectangle in parking area of Lot 2. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

SITE PLAN SHEET 2 of 11

13. Please add a line legend to the site plan sheet. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

SITE PLAN SHEET 3 of 11

14. Please identify wall on the east side of Retail A building. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

15. Intersection of Lot 6 access and N/S access aisle on the east side of the development could be designed to align. Please analyze and address. Please see redline.
Please amend.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

SITE PLAN SHEET 7 of 11

16. A section of the east end of the Retail A building on the east end is depicted incorrectly on the south elevation. Please see redline.
Please amend and/or clarify.   

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

SITE PLAN SHEET 11 of 11

17. All of Section III of the Commercial Industrial and Multifamily Design Standards (CI&MF) apply to each lot within this development. https://co-parkerintranet.civicplus.com/139/Community-Development These standards require 360 degree architecture, which is not reflected in the submitted elevations. This prominent corner will require special attention to this requirement. Currently the west and south elevations reflect 'back of house' architecture and articulation. Additional transparency, material changes, and articulation will be required. The west elevation must present to the street as a front. Front elevations have specific design and material requirements.  Side facades that are visible have specific design and material requirements. Blank, featureless walls such as the south elevation and parts of the west are prohibited. Plane changes to address mass and scale are required for any facade exceeding 100 ft.  Repeating pattern changes are required for all facades.  Please review section III.2. for further detail regarding mass and scale requirements as well as required architectural elements and articulation. Please review redline and revise accordingly prior to Lot 7 site plan submittal. 
The elevations as submitted are not eligible for approval as they do not meet the requirements of the Commercial Industrial and Multifamily Design Standards. While staff has made some broad comments, the applicant should expect additional comments at time of final site plan review. 
       
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

OUTSIDE REFERRAL AGENCY COMMENTS

18. Please address all outside referral agency comments with a written response.  These comments are available on etrakit.

Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: ______________________________________________________________________

_______________________________________________________________________________

_______________________________________________________________________________

_______________________________________

__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date

