Staff Comments - 2
SP18-081; Medical Office Building
December 28, 2018

Page 5 of 5

[image: image1.jpg]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:
Mark Pierson, RTA Architects
FROM:
Paul Workman, Senior Planner
DATE:
December 28, 2018
SUBJECT:  SP18-081 Site Plan for Medical Office Building at Parker Adventist
Listed below are the Planning Division’s comments related to your applications, which must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  A follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT CASE PLANNER:  

Paul Workman
EMAIL: pworkman@parkeronline.org
PHONE:  303.805.3327

GENERAL PROJECT COMMENTS:

1. For your reference, any future approvals of this Site Plan are final. The Planning Division will use this plan set to determine compliance at the time of inspection for Certificate of Occupancy. Therefore, any changes to an approved Site Plan need to be reviewed and approved by the Planning Division through the appropriate process prior to inspection. 

2. The Planning Division has referenced certain section of the Land Development Ordinance (LDO) and the Commercial, Industrial, and Multi-Family Design Standards (CIMF). A copy of these document are available at: 
LDO
CIMF
3. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

4. Signage was not reviewed, nor was it approved as part of this review. All signage will need to obtain a separate sign permit for all signage.
5. Please be aware that the Planning Division has the ability to charge an additional review fee for any application that requires more than three review cycles.
SITE PLAN:
General Comment(s):

Comment(s) Based on Revisions

1. Please revise the address based on Douglas County’s addressing comments. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Sheet 2 of 12 (Site Plan):

Repeat Comment(s)/Redline(s)
1. Please add all specific setbacks to this sheet. Staff will use this information during the future building permit review and Foundation Location Certificate review.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Comment(s) Based on Revisions

1. For clarity, please add a note identifying the new 5’ concrete sidewalk on the northwest side of the site.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. Please label the trash receptacles.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


General Elevation Comment(s):

Comment(s) Based on Revisions

1. It appears that some colors were identified inadvertently. Please remove or label these items.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

Sheet 4 of 12 (Exterior Elevations):

Comment(s) Based on Revisions

1. West Elevation. Please label the color of the doors that were added to this elevation.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

Sheet 8 of 12 (Landscape Plan):
Repeat Comment(s)/Redline(s)
1. Please label and provide details for the paving at the east entrance. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

Comment(s) Based on Revisions

1. Please label all of the circles that were added to this sheet (see redlines).
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. Please show the landscaping that will be installed in the revised median.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

Sheet 9 of 12 (Landscape Notes and Details):
Repeat Comment(s)/Redline(s)
1. Please provide the seed mixes for the native seed areas to meet the approved mixes of the Town (provided on this sheet). 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

Sheet 11 of 12 (Site Lighting Photometric Plan):
Repeat Comment(s)/Redline(s)
1. The uniformity table does not meet 13.10.140.e.3.b. Please revise for compliance.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Comment(s) Based on Revisions

1. Thank you for adding the foot-candles at the south property line (the drive aisle). The information does not comply with 13.10.140.c.7 (max 1 foot-candle). Please revise.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. The foot-candles adjacent to the building do not comply with 13.10.140.c.14 (max 12 foot-candles). Please revise.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

PROJECT NARRATIVE
Comment(s) Based on Revisions

1. Please revise the address based on Douglas County’s addressing comments. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

CONSTRUCTION PLANS
Comment(s) Based on Revisions

1. Please note the new 5’ concrete sidewalk on the northwest side of the site for clarity.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. Please show the landscaping that will be installed in the revised median.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  At the time this letter was drafted, the following agencies have provided comments for the applicant to address. It is in the applicant’s best interest to continue to monitor the project in TRAKiT as additional comments may be posted after the release of this letter.
· Town of Parker Building Division

· Cottonwood Water and Sanitation District

· Fire Life Safety

· Intermountain Rural Electric Association (IREA)

· Town of Parker Public Works/Engineering - forthcoming
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

_______________________________________


__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date










































































































