Staff Comments v2
SP19-061; Horseshoe Ridge L1 B1
Learning Center Site Plan
December 12, 2019
Page 8 of 8

[image: image1.jpg]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:
Jeanne Shaffer, Groundwork Entitlement Services, LLC 

FROM:
BrieAnna Simon, Associate Planner
DATE:
December 12, 2019
SUBJECT:  
SP19-061, Site Plan, Horseshoe Ridge Block 1 Lot 1 – Learning Center 

Review Comments v2
Listed below are the Planning Division’s comments related to your application, which must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  A follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT CASE PLANNER: BrieAnna Simon 

EMAIL: bsimon@parkeronline.org
PHONE:  303.805.3338
GENERAL PROJECT COMMENTS:

1. The Planning Division has referenced certain sections of the Town Master Plan (TMP). A copy of this document is available at: 
Commercial Design Standards
Land Development Ordinance
2. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.
PROJECT NARRATIVE
General Comment(s):

1. Building Materials: Please indicate the type of EIFS being used in the narrative. You put it in the comment response but can you please add this to the narrative for added clarification.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Commercial Design Standards

General Comments 
1. Site Data Table: Remove all +/- and provide exact dimensions throughout the site plan including the cover page. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. Site Data Table: The provided bicycle parking on the cover page does not match the proposed site plan review page. Please check numbers. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

3. Site Data Table: Please update the Site Data Table to include required bicycle parking and provided. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

III.1.A. Adjacent Sensitivity:

4. Please indicate the two different types of fences on the site plan with different symbols. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


5. Development sites adjacent to open space and/or recreational areas shall limit the height of retaining walls to 4'-0". Please adjust accordingly. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


6. Please more clearly show all easements on the property. Please shade the utility 30-foot utility easement or clearly show the utility easement extents on the site plan. No structures, including retaining walls can be located within a utility easement. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


III.1.D. Pedestrian Access:

7. Extend awning across the south elevation. All public entrances are required to have weather protection per the Design Standards Commercial - Section III.1.D. Pedestrian Access. Adding this element also enhances this elevation to appear as "front of house".  
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


8. Any entrance utilized by the public (i.e., anyone but employees) needs to have weather protection. Please provide weather protection for these doorways. Staff suggests extending the existing awnings to cover all doorways in each section. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


9. A minimum width of eight (8) feet shall be continuously maintained on the sidewalk or entrance into the principal building to allow for pedestrian access. Please adjust accordingly.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


10. An 8-foot minimum walkway clearance between the building and curb is required. The column must be outside of the 8-foot walkway or additional sidewalk around the column needs to be provided (i.e., the closest parking spot to be used as sidewalk but note this would need to be replaced elsewhere on the site to meet the parking requirements). Please adjust accordingly.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


III.2.C. Building Materials:

11. Please show electrical cabinets on the provided elevations. Cabinets must be painted to match the building. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


12. Masonry columns on the fence should be close enough to stop a vehicle. Please provide more frequent masonry posts. One wood post maximum between each brick post. This will enhance the appearance and provide increased safety along the public right-of-way.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Land Development Ordinance

Section 13.06.050 – Parking Regulations:

13. All measurements should be taken from asphalt to asphalt. The curb and gutter does not count towards the parking space width and depth. Please update all measurements. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.06.050 – Bicycle Parking Regulations:

14. Please provide a bicycle parking detail in order to determine if the proposed structure meets the requirements outlined in Section 13.06.060.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


15. Only 43 parking stalls are provided on site per the site plan review page. Handicap stalls are included in the standard parking stall count provided. Please adjust the Site Data Table accordingly.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.06.070 – Landscape Regulations:

16. The provided landscape plan shows existing blue grass turf grass on site. This needs to be included in this calculation and irrigated. Otherwise please remove the shown turf grass on site. Please provide the total percentage of turf grass being used for on-site landscaping. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


17. Please provide a square footage of the lot area not covered by a building or required parking only. This is the square footage used for the calculations outlined in Section 13.06.070. The required trees and shrub calculations will be check once this square footage is provided. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


18. Per Section 13.06.070 required trees and shrub calculation is based on the square footage of the lot area not covered by a building or required parking only. The required number of plants and shrubs will be higher based on the square footage. Please adjust accordingly. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


19. Per Section 13.06.070(I)(5)(c) A mix of deciduous and evergreen trees is required to provide color and screening in winter months. A minimum of twenty-five percent (25%) and a maximum of fifty percent (50%) shall be evergreen trees. Please updated required percentages. Add the required percentages to the description. Add the number of trees to the required column. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


20. The provided numbers within the Plant Requirement Table for shade trees does not match the plant schedule found on the landscape plan. Please adjust accordingly and updated any required calculations based on updated numbers.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


21. Perimeter landscaping (internal to the site) and street trees (ROW) are two separate regulations that need to be met. The trees located in the right-of-way (street trees) cannot count towards any required landscaping on site. Please provide an additional table or add a row to the existing tables with the required number of street trees (1 per 40 feet) and the number of street trees provided. Add a note that states these street trees are existing to that portion of the table.  
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


22. Per Section 13.06.070(q) for Commercial, public, institutional and civic lots 1 tree and 5 shrubs for each 40 lineal feet of edge is required. Please add the required shrubs to this table and show the provided landscaping.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


23. South lot line must be added into perimeter landscaping requiements table and meet the required perimeter landscaping. Due to the shared drive, staff recommends adding in an "active" use (i.e, table, benches, etc.) or additional landscaping at the corner of the building to count towards this requirement.  

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


24. Plant material shall be located at building corners and along all commercial building sides. Please adjust accordingly. Please enhance building entryways with ornamental plant material. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


25. Staff is unable to wave any landscaping requirements. Please adjust accordingly and show all landscaping requirements have been met.  

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


26. Plant Notes #2: Will ground cover be mulch or river rock? The provided site plan shows both mulch and river rock being used. Please update note accordingly.  

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


27. Plant Notes #3: Please provide an irrigation page that meets the regulations outlined in Section 13.06.070(i) in the Land Development Ordinance.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.06.090 – Screening Regulations:

28. Please use taller shrubs around the trash enclosure to provide additional screening. Four-foot minimum height is recommended for the shrubs closest to the enclosure instead of the JSBR shrubs. Please note the taller shrubs closer to the transformer may not meet IREA requirements. Please check with IREA.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


29. Check IREA standards to ensure the landscaping meets the spacing requirements. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.10.140 – Lighting Regulations:

30. Per Section 13.10.140 for parking lots with vehicular traffic, medium activity the maximum Uniformity Ratio is 10:1. Please adjust accordingly. Please adjust accordingly.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


31. Please provide all light levels at the property line. Section 13.10.140(c)(7): A maximum of one (1) foot-candle is allowed at the lot line of any site. Please adjust accordingly.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


32. Provide a note on the plan to indicate why the light levels may exceed the required level at the property line for the shared access isle only. All other areas must meet the lighting regulations. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  The following agencies have provided comments for review:

· Fire Life Safety

· Parker Water and Sanitation

· Town of Parker – Civil (Construction Plans)

· Town of Parker – Civil (Drainage Report)

· Town of Parker – Civil (Site Plan)
· Town of Parker – Civil (Traffic Impact Study)

· Town of Parker – Stormwater (Construction Plans)

· Town of Parker – Stormwater (Drainage Report)

· Town of Parker – Stormwater (Site Plan)

· Town of Parker – Environmental (Construction Plans)

These comments are available on eTRAKiT. Please address accordingly. 
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


_______________________________________


__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date















































































































































































































