Staff Comments v2
SP19-062; Horseshoe Ridge L2 B1
Multi-Tenant Commercial 
December 16, 2019
Page 8 of 8

[image: image1.jpg]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:
Jeanne Shaffer, Groundwork Entitlement Services, LLC 

FROM:
BrieAnna Simon, Associate Planner
DATE:
December 16, 2019
SUBJECT:  
SP19-062, Site Plan, Horseshoe Ridge Block 1 Lot 2 - Multi-Tenant Commercial

Review Comments v2
Listed below are the Planning Division’s comments related to your application, which must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  A follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT CASE PLANNER: BrieAnna Simon 

EMAIL: bsimon@parkeronline.org
PHONE:  303.805.3338
GENERAL PROJECT COMMENTS:

1. The Planning Division has referenced certain sections of the Town Master Plan (TMP). A copy of this document is available at: 
Commercial Design Standards
Land Development Ordinance
2. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

PROJECT NARRATIVE
General Comment(s):

1. Site Plan Request: Numbers provided in narrative do not match those shown on the proposed site plan. Please adjust accordingly.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Landscaping: Please update the parking lot layout information in the narrative per the new lot layout shown in the site plan.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. Building Materials: Please indicate the type of EIFS being used in the narrative. You put it in the comment response but can you please add this to the narrative for added clarification.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Commercial Design Standards

General Comments 
1. Site Data Table: Remove all +/- and provide exact dimensions throughout the site plan including the cover page. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. Site Data Table: Please update the Site Data Table to include required bicycle parking and provided. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

3. Site Data Table: The “Stalls Next to Landscape” dimensions do not match the size shown on page two the proposed site plan (e.g., 8’ x 9’ in size). Please check numbers. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

4. Site Data Table: The “retail building size” in the Site Data Table does not match the dimensions shown on page two the proposed site plan (e.g., 3,356 sqft vs 3,213 sqft). Please check numbers and adjust parking calculations as needed.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

III.1.A. Adjacent Sensitivity:

5. Where is the drive through menu board going to be located? Will there be over head covering? Please provide a detail.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


III.1.D. Pedestrian Access:

6. A minimum width of eight (8) feet shall be continuously maintained on the sidewalk or entrance into the principal building to allow for pedestrian access. Please adjust accordingly.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


7. Egress doors for the public or employees cannot open to landscaping beds. This landscaping will not survive. There needs to be a sidewalk provided where employees or the public can exit the building. Please adjust accordingly.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


III.2.C. Building Materials:

8. These south elevation of the building should be enhanced in order to meet the 360-degree architecture requirement. Since the South elevation fronts Hess Road, this elevation should not have a "rear" appearance.  There are a number of options to meet this requirement. Please work with staff to determine the best path forward. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


9. Extend the screen wall to screen the rear appearance along Hess Road.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Land Development Ordinance

Section 13.06.050 – Parking Regulations:

1. Please check the required parking calculations. Please note all parking calculations should be rounded up per the rounding rule as defined in Section 13.06.050(e)(1)(d).
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. Per Section 13.06.050(f)(1) Parking spaces adjacent to landscape islands shall be ten (10) feet in width. Please adjust according. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


3. Per Section 13.06.050(g)(2)(e) Drive-through lanes shall be designed to be eleven (11) feet in width. Please adjust accordingly. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


4. Per Section 13.06.050(g)(2)(a) When two-way traffic is proposed, the drive shall be designed to be between twenty-four (24) and twenty-six (26) feet in width. Please adjust the internal drive widths accordingly. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


5. Per Section 13.06.050(g)(2)(a) when two-way traffic is proposed, the drive shall be designed to be between twenty-four (24) and twenty-six (26) feet in width. Additionally, per Section 13.06.050(g)(2)(c) no pedestrian crossing of an internal private drive may exceed twenty-six (26) feet. Please adjust the drive lane width to accommodate the pedestrian connection between the two lots. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


6. Parking lots adjoining another parking lot shall provide a buffer a minimum of eight (8) feet. Please adjust accordingly. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.06.050 – Bicycle Parking Regulations:

7. Please provide a bicycle parking detail in order to determine if the proposed structure meets the requirements outlined in Section 13.06.060.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.06.070 – Landscape Regulations:

8. Please provide a square footage of the lot area not covered by a building or required parking only. This is the square footage used for the calculations outlined in Section 13.06.070. The required trees and shrub calculations will be check once this square footage is provided. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


9. Per Section 13.06.070 required trees and shrub calculation is based on the square footage of the lot area not covered by a building or required parking only. The required number of plants and shrubs will be higher based on the square footage. Please adjust accordingly. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


10. Per Section 13.06.070(I)(5)(c) A mix of deciduous and evergreen trees is required to provide color and screening in winter months. A minimum of twenty-five percent (25%) and a maximum of fifty percent (50%) shall be evergreen trees. Please updated required percentages. Add the required percentages to the description. Add the number of trees to the required column. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


11. The provided numbers within the Plant Requirement Table for shade trees does not match the plant schedule found on the landscape plan. Please adjust accordingly and updated any required calculations based on updated numbers.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


12. Perimeter landscaping (internal to the site) and street trees (ROW) are two separate regulations that need to be met. The trees located in the right-of-way (street trees) cannot count towards any required landscaping on site. Please provide an additional table or add a row to the existing tables with the required number of street trees (1 per 40 feet) and the number of street trees provided. Add a note that states these street trees are existing to that portion of the table.  
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


13. Per Section 13.06.070(q) for Commercial, public, institutional and civic lots 1 tree and 5 shrubs for each 40 lineal feet of edge is required. Please add the required shrubs to this table and show the provided landscaping.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


14. North lot line must be added into perimeter landscaping requirements table and meet the required perimeter landscaping. Due to the shared drive, staff recommends adding in an "active" use (i.e, table, benches, etc.) or additional landscaping at the corner of the building to count towards this requirement.  

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


15. Plant material shall be located at building corners and along all commercial building sides. Please adjust accordingly. Please enhance building entryways with ornamental plant material. 

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


16. Staff is unable to wave any landscaping requirements. Please adjust accordingly and show all landscaping requirements have been met.  

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


17. Plant Notes #2: Will ground cover be mulch or river rock? The provided site plan shows both mulch and river rock being used. Please update note accordingly.  

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


18. Plant Notes #3: Please provide an irrigation page that meets the regulations outlined in Section 13.06.070(i) in the Land Development Ordinance.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.06.090 – Screening Regulations:

19. Please use taller shrubs around the trash enclosure to provide additional screening. Four-foot minimum height is recommended for the shrubs closest to the enclosure instead of the CxC shrubs and PAH perennials.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Section 13.10.140 – Lighting Regulations:

20. Per Section 13.10.140 for parking lots with vehicular traffic, medium activity the maximum Uniformity Ratio is 10:1. Please adjust accordingly. Please adjust accordingly.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  The following agencies have provided comments for review:

· Fire Life Safety

· Parker Water and Sanitation

· Town of Parker – Civil (Construction Plans)

· Town of Parker – Civil (Site Plan)

· Town of Parker – Civil (Traffic Impact Study)

· Town of Parker – Stormwater (Construction Plans)

· Town of Parker – Stormwater (Drainage Report)

· Town of Parker – Stormwater (Site Plan)

· Town of Parker – Environmental (Construction Plans)

These comments are available on eTRAKiT. Please address accordingly. 
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


_______________________________________


__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date









































































































































































































