Staff Comments 03 – December 4, 2020
SP20-019 -; Parker and Pine, F1, L2
Murphy Express Gas

[image: image5.png]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:

Jim Erwin-Svoboda, Galloway and Company, Inc.
FROM:

Mary Munekata, Senior Planner
DATE:

December 4, 2020
SUBJECT:  
Parker and Pine Filing 1, Lot 2 – Site Plan for Murphy Express Gas


Review Comments 03


Application SP20-019

Listed below are the Planning Division’s comments related to your land use application.  All comments must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  If needed, a follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT
CASE PLANNER:  Mary Munekata
EMAIL:    mmunekata@parkeronline.org 
PHONE:  303.805.3337
GENERAL PROJECT COMMENTS
1. The Planning Division references certain sections of the Parker 2035 Master Plan, the Land Development Ordinance (LDO) and the Development Design Standards.  Copies of these documents are available at: 
Parker 2035 Master Plan
Development Design Standards


Land Development Ordinance (LDO)
2. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

3. Please contact the referral agencies directly if you have questions regarding their review comment(s).

4. The Town of Parker Fire/Life/Safety Department must approve the latest submitted plans prior to approving this project.

5. The Town of Parker Engineering Department must approve the latest civil construction documents (traffic, drainage plan(s), etc.) prior to approving this project.

6. The Parker Water and Sanitation District (PWSD) must approve the latest site plan and civil construction documents prior to approving this project.

7. Signage is not review as part of this submittal.  All signage is required to receive approval via a separate Sign Permit process.

8. A redlined plan is included with this memorandum and is intended to supplement and clarify the review comments of this memorandum.  Redline comments: please respond to those comments by clouding each change with a brief description/title on your next submittal set.

9. Please respond in detail to each of the requests in this comment letter.  Include written responses to any Outside Referral Agency comments that need to be addressed.    
10. Final Plans submitted to the Building Department, Engineering Department and Parker Water and Sanitation District must match exactly the Approved Site Plan set.  
The approved Site Plan is NOT conceptual and will be considered final.  
General Comments:
1. Please reference the redlines in eTRAKIT for additional comments/clarification. Please respond to those comments by clouding each change with a brief description/title on your next submittal set.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

[image: image1.jpg]



2. Please note; for rounds of review that exceed three (3), an additional charge of 1/3 of the base fee plus additional application fees will be billed for each subsequent review ($181.50). Resolution 18-004, has been uploaded in the eTRAKiT project.

Site Design – Sheet C1.1:

NOTE:  Site design generally follows the approved ‘Parker and Pine Preliminary Site Plan’ (SP-18-047) as the framework for development in this subdivision.  Some comments herein reference the preliminary site plan.
1. The subdivision’s approved Preliminary Site Plan states the eastern sidewalk adjacent to Parker Road shall be 8’ in width.  Please revise site plan to reflect a new 8’ sidewalk to be constructed by master developer.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. The plan set does not include an Overall Site Plan sheet.  A few comments were made on the sheet titled ‘Horizontal Control Plan’.  Please provide a Site Plan exhibit separate from the Horizontal Control Plan for final approval.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


3. The Town’s Development Design Standards require sidewalks located on any building side with a public entrance, to be a minimum of 10' in width & span the entire length of the building.  Please ensure the site plan’s northwest elevation depicts and call out a 10' width sidewalk. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


4. All rooftop or ground-mounted mechanicals are to be depicted on the site plan & building elevations. Please revise the site plan and building elevation to show all mechanicals and how they will be screened.  Please Include dimensions.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


5. Please provide required & actual provided setbacks from building to property line on the site plan.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


NOTE:  See the Site Plan redlines for additional comments.  Please respond to all. 

Landscaping – Sheet L1.1 :

1. Site Perimeter landscaping is in addition to the required 15% landscaping requirement of the LDO. While added to the landscape table as requested, there are discrepancies in the numbers of required trees and shrubs actually depicted on the landscape plan.  Please revise the landscape plan to reflect all required trees and shrubs.  As previously commented, these perimeter trees and shrubs count separately from other landscape requirements (pay special attention to west & south elevations).  Streetscape trees do not count towards any site landscaping – only streetscape requirements.
Complied:

 No
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 



2. The Parker Road frontage is a highly visual frontage & corner and enhanced landscaping is required as a part of the approved master landscape plan.  Redlines again include snip of the required Parker Road corner per the master landscape plan.  It appears to have more plants added, however lacks design to be considered ‘enhanced landscaping’.  Perhaps revise corner with a design and consider an art piece at this important corner entrance to the subdivision and possibly decorative bolders throughout the landscape.
.  
Complied:

 No 
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 



3. Please add retaining wall detail(s) including wall type, materials, color, manufacturer info & photoshop of proposed wall as this is a significant wall at a prominent entrance corner.
.  
Complied:

 No 
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 




NOTE:  See the Landscape Plan redlines for additional comments.  Please respond to all for
 tracking purposes.
Lighting – Sheet C-3.5:
1. Per section 13.10.140 of the LDO – Lighting Standards, freestanding luminaire height cannot exceed the building height.  Please revise light detail.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. Per section 13.10.140 of the LDO – Lighting Standards, the setbacks from the property line shall be at least equal to the total height of the luminaire.  Please ensure all freestanding luminaires are in compliance with this standard and shielding standards.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Parking:

1. SECOND REQUEST:  Please provide an image of the proposed bicycle rack, including color and

material information.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Building Elevations – Sheets A1.1, A1.2, A1.3 & Color Rendering:

1. All rooftop/RTUs or ground-mounted mechanicals must be shown on the building elevations (& site plan) and how they will be screened.  Please revise the building elevations to show all mechanicals including dimensions and callout of materials, colors, screening, etc.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. The Parker & Pine Planned Development (PD) Guide prescribes certain materials and colors for this subdivision.  These requirements are in addition to the standards in the Town of Parker Land Development Ordinance (code) and Development Design Standards, and have not been met.  Many of the comments on the colored elevation reflect those requirements in the PD and Town staff also suggested Galloway view the new Murphy Express at Parker & Stroh Roads and take material and color cues from it as it has similar PD requirements and utilized current/updated industry materials and design principles.  Please revise the colored rendering accordingly.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

3. The colored building elevations need to depict the exact color and materials, or as closely as possible. The proposed brown brick is not depicted correctly (solid color sample but rendering is variegated). Please revise to reflect called-out material colors.  The brick may need to be revised to meet the Parker & Pine PD Guide materials/colors standards.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Sheet P4.0 – Please add dimensions to all elevations.

OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response. These comments are available on eTRAKiT. Please list each here and address accordingly. 
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


_______________________________________


__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date


















































































Page 6 of 6

