Staff Comments 04 – July 14, 2021
SP20-019 -; Parker and Pine, F1, L2
Murphy Express Gas

[image: image6.png]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:

Jim Erwin-Svoboda, Galloway and Company, Inc.
FROM:

Mary Munekata, Senior Planner
DATE:

July 14, 2021
SUBJECT:  
Parker and Pine Filing 1, Lot 2 – Site Plan for Murphy Express Gas


Review Comments 04


Application SP20-019

Listed below are the Planning Division’s comments related to your land use application.  All comments must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  If needed, a follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT
CASE PLANNER:  Mary Munekata
EMAIL:    mmunekata@parkeronline.org 
PHONE:  303.805.3337
GENERAL PROJECT COMMENTS
1. The Planning Division references certain sections of the Parker 2035 Master Plan, the Land Development Ordinance (LDO) and the Development Design Standards.  Copies of these documents are available at: 
Parker 2035 Master Plan
Development Design Standards


Land Development Ordinance (LDO)
2. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

3. Please contact the referral agencies directly if you have questions regarding their review comment(s).

4. The Town of Parker Fire/Life/Safety Department must approve the latest submitted plans prior to approving this project.

5. The Town of Parker Engineering Department must approve the latest civil construction documents (traffic, drainage plan(s), etc.) prior to approving this project.

6. The Parker Water and Sanitation District (PWSD) must approve the latest site plan and civil construction documents prior to approving this project.

7. Signage is not review as part of this submittal.  All signage is required to receive approval via a separate Sign Permit process.

8. A redlined plan is included with this memorandum and is intended to supplement and clarify the review comments of this memorandum.  Redline comments: please respond to those comments by clouding each change with a brief description/title on your next submittal set.

9. Please respond in detail to each of the requests in this comment letter.  Include written responses to any Outside Referral Agency comments that need to be addressed.    
10. Final Plans submitted to the Building Department, Engineering Department and Parker Water and Sanitation District must match exactly the Approved Site Plan set.  
The approved Site Plan is NOT conceptual and will be considered final.  
General Comments:
1. Please reference the redlines in eTRAKIT for additional comments/clarification. Please respond to those comments by clouding each change with a brief description/title on your next submittal set.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

[image: image1.jpg]



2. Please note; for rounds of review that exceed three (3), an additional charge of 1/3 of the base fee plus additional application fees will be billed for each subsequent review. Resolution 18-004, has been uploaded in the eTRAKiT project.

Cover Sheet – Sheet C-0.0:

1. Please make the following changes:

a. Legal description – make correction as noted on the redlines  

b. Site Data Table - make correction as noted on the redlines 
c. Municipal Contacts - please add the Planning Department as noted on the redlines

d. Development Plan Notes - please add the site plan note in red as noted on the redlines

e. Engineering Signature Block – Please delete as noted on the redlines (only needed on construction plan set).

Site Design – Sheet C1.1:

NOTE:  Site design generally follows the approved ‘Parker and Pine Preliminary Site Plan’ (SP-18-047) as the framework for development in this subdivision.  Some comments herein reference the preliminary site plan.
1. Please correct legal description as noted on the redlines.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. Please relocate bike racks to a visible area in the front/primary entrance area as noted on the redlines.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


3. The Town’s Development Design Standards require sidewalks located on any building side with a public entrance, to be a minimum of 10' in width & span the entire length of the building.  Please ensure the site plan’s northwest elevation depicts and call out a 10' width sidewalk. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


4. Please delete Engineering signature block as it is not required on the Site Plan set.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


NOTE:  See the Site Plan redlines for additional comments.  Please respond to all. 

Landscaping – Sheet L1.1, L1.2:

1. Previous comment to diversify shrubs and to cut the amount of proposed juniper material.  Instead, the juniper material increased.  The tall uprights and ground cover material are okay, but please adjust the highlighted evergreen shrubs down by half and chose additional updated plant materials for a more diversified landscape.
Complied:

 No
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 



2. The Sod-Irrigated Turf exceeds the code’s maximum of 15%.  Please see the redlines for suggested perennial beds in a couple of areas to help meet this requirement.
.  
Complied:

 No 
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 



3. SECOND REQUEST:  Please add retaining wall detail(s) including wall type, materials, color, manufacturer info & photoshop of proposed wall as this is a significant wall at a prominent entrance corner.  Please provide material sample for Town review.
.  
Complied:

 No 
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 




NOTE:  See the Landscape Plan redlines for additional comments.  Please respond to all for
 tracking purposes.
4. Please identify all substitution shrubs and count totals.  Include the number of trees and identify the plant material that is being used as tree substitutions.

.  
Complied:

 No 
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 



Parking:

1. SECOND REQUEST:  Please provide an image of the proposed bicycle rack, including color and

material information.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Building Elevations – Sheets A1.1, A1.2, A1.3 & Color Rendering:

1. The 8’8” screen wall on rear-south elevation is too tall and will probably not be allowed by IREA (Electric).  Please coordinate with IREA.  You may need to shorten and/or revise material. A simpler decorative metal panel along with landscaping may work for IREA.   
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


2. Please add the bike racks to the renderings
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

3. The Town will need samples of the revised darker brick (Dark Sandstone Velour by Endicott) to review, as well as the block for the retaining wall, and material for the screen wall - prior to approval of the site plan.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Sheet P4.0 – Please add dimensions to all elevations.

4. Please see additional comments on redlines.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Sheet P4.0 – Please add dimensions to all elevations.

OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response. These comments are available on eTRAKiT. Please list each here and address accordingly. The following agencies have provided comments for review in eTrakit – with “Revisions Required”:

1. Cherry Creek Basin Water Quality Authority – Previous comments not addressed.  Please reach out the them directly.
2. Town of Parker – Construction Plans; Stormwater review
3. Town of Parker – Construction Plans; Environmental review
4. Town of Parker – Site Plan; Engineering Civil review
5. Town of Parker – Drainage Report; Stormwater review – Please confirm all requirements from the Engineering Memo dated August 2020 have been met  
6. Parker Water & Sanitation District
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


The following agencies have NOT yet provided comments for review in eTrakit. Please monitor your project in eTrakit in anticipation of the forthcoming comments:

1. CDOT (Marilyn Cross) – Please reach out to Marilyn directly.
_______________________________________


__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date






































































Page 5 of 6

