Staff Comments 01
SP20-058; Parker and Pine, F1, L3
Slim Chickens
September 4, 2020

[image: image4.png]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:
Chris Mueller, EES Inc.

Rick Stucy, Trail Star Development LLC
FROM:
Mary Munekata, Senior Planner
DATE:
September 4, 2020
SUBJECT:  
Parker and Pine Filing 1, Lot 3 – Slim Chickens Site Plan

Review Comments 01
Listed below are the Planning Division’s comments related to your land use application.  All comments must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  If needed, a follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT:

CASE PLANNER:  Mary Munekata
EMAIL: mmunekata@parkeronline.org
PHONE:  303.805.3337
GENERAL PROJECT COMMENTS:

1. The Planning Division references certain sections of the Parker 2035 Master Plan, the Land Development Ordinance (LDO) and the Development Design Standards.  Copies of these documents are available at: 
Parker 2035 Master Plan
Development Design Standards


Land Development Ordinance (LDO)
2. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.
3. Please contact the referral agencies if you have questions regarding their review comment(s).
4. A redlined plan is included with this memorandum and is intended to supplement and clarify the review comments of this memorandum.  
5. Please respond in detail to each of the requests in this comment letter.                                                   Redline comments: please respond to those comments by clouding each change with a brief description/title on your next submittal set.
6. Final Plans submitted to the Building Department, Engineering Department and Parker Water and Sanitation District must be exactly the same as the approved Site Plan set.  The approved Site Plan is NOT conceptual and will be considered final.  
General Comments:
1. Please reference the redlines in eTrakit for additional comments/clarification.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 
[image: image1.jpg]



Site Design – Sheet C1.0:

NOTE:  Site design generally follows the Parker and Pine Preliminary Site Plan (SP-18-047) as the framework for development in this subdivision.  Some comments herein reference the preliminary site plan.
1. The Preliminary Site Plan states the eastern sidewalk adjacent to Parker Road shall be 8’ in width.  Please revise site plan to reflect an 8’ meandering sidewalk and turf grass (sod) for visual interest throughout this area.  This same comment was provided to the Lot 2 applicant to the north.  (See also Landscaping comment #2, third sentence).
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. The Town’s Development Design Standards require sidewalks located on any building side with a public entrance, to be a minimum of 10' in width & span the entire length of the building.  Please revise the site plan’s west elevation to reflect a 10' sidewalk width.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

3. All rooftop or ground-mounted mechanicals are to be depicted on the site plan (& Building Elevations).  Please revise the site plan to show all mechanicals and how they will be screened.  Include dimensions.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

4. Please provide actual setbacks from building to property line – on all elevations as requested on the redlined site plan exhibit.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

NOTE:  See the Site Plan redlines for additional comments.  Please respond to all for tracking

purposes.

Landscaping – Sheets L1, L2):

1. Staff cannot determine the accuracy of provided landscape calculations as there are not dimensions or square footage on the site plan or landscape plan.  Please provide area square footage and linear footage dimensions for staff to verify calculations and required landscaping.
Complied:

 No
 Yes


Response: 

 SHAPE  \* MERGEFORMAT 



2. The Parker Road frontage is a highly visual frontage & corner and enhanced landscaping is required as a part of the approved master landscape plan.  Please see redlines for snip of the required NE corner per the master landscape plan.  Also, understanding that the eastern property line consists of multiple utility easements, however, a meandering traditional turf grass should be added to the back of the sidewalk along with additional quality shrub beds.  This comment aligns with the additional landscaping requested for the lot to the north.

Complied:

 No  Yes


Response: 

 SHAPE  \* MERGEFORMAT 




NOTE:  See the Landscape Plan redlines for additional comments.  Please respond to all for tracking

purposes.
Lighting – Sheets P5.0, P5.1):
1. Please provide manufacturers cut sheets for proposed lighting.  Clearly state the proposed fixtures, max illuminance, height and color.  Confirm compliance with section 13.10.140 of the Land Development Ordinance – Lighting Standards.  See redlines for further comments on photometric plan.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Parking:

Staff has no comment at this time.
Building Elevations:

1. All rooftop/RTUs or ground-mounted mechanicals must be shown on the building elevations (& site plan) and how they will be screened.  Please revise the building elevations to show all mechanicals including dimensions and callout of materials and colors.
Complied:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

2. A materials sample board is required with the initial submittal.  Material boards should be no larger than 9” W x 12” H and can be dropped off at Town Hall.  Please provide with the next submittal (#2).  Further Planning review comments may be provided to applicant after receipt and review of actual materials.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

3. The colored building elevations need to depict the exact color and materials, or as closely as possible.  Please revise to reflect called-out material colors.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 

Sheet P4.0 – Please add dimensions to all elevations.
NOTE:  See the Site Plan redlines for additional comments.  Please respond to all for tracking

purposes.  Please reference and address all redlines on the Site Plan 2 and Building Elevations/Colored Building Elevations exhibits for additional comments and/or clarifications. 

OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  The following agencies have provided comments for review in eTrakit:

These comments are available on eTRAKiT. Please address accordingly. 
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


_______________________________________


__________________

Property Owner







Date

_____________________________________


__________________

Project Representative






Date































































Page 5 of 5

