2021 09 14 EES RESPONSE

| Group: | SP 1ST 20 |
| --- | --- |
| Type: | SITE PLAN - STORMWATER |
| Status: | REVISIONS REQUIRED |
| Date Submitted: | 6/30/2021 |
| Date Due: | 7/29/2021 |
| Date Completed: | 7/28/2021 |
| Reviewer: | Michael Walton |
| Notes: | 7/28/2021 1:31:52 PM The proposed storm sewer infrastructure south of the car wash requires a drainage easement in accordance with SDECM section 6.3.3. See Construction Plan – Stormwater comments for additional details. PER PREVIOUS CONVERSATION ON 8-9-2021, WE ARE GOING TO DAYLIGHT LEFT TRENCH DRAIN INTO DITCH. RIGHT TRENCH DRAIN TO ROUTE TO THE SAND INTERCEPTOR TANK. DOWNSPOUTS TO REMAIN PLASTIC PIPES. NO ADDITIONAL STORM EASEMENTS ARE PROPOSED. |