Staff Comments - 4
SP21-133; Lincoln Professional Park – Site Plan
September 28, 2022
Page 2 of 15

[image: image1.jpg]


    
Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223
MEMORANDUM

​​​​​​

TO:
Cassie Younger, Maverik, Inc.
FROM:
Stacey Nerger, Senior Planner
DATE:
September 28, 2022
SUBJECT:  SP21-133 Lincoln Professional Park Filing No. 1 Lot 1 Site Plan
Listed below are the Planning Division’s comments related to your applications, which must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  A follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.  

TOWN OF PARKER PLANNING DEPARTMENT CASE PLANNER:  Stacey Nerger
EMAIL: snerger@parkeronline.org
PHONE:  303.805.3199
GENERAL PROJECT COMMENTS:

1. For your reference, any future approvals of this Site Plan are final. The Planning Division will use this plan set to determine compliance at the time of inspection for Certificate of Occupancy. Therefore, any changes to an approved Site Plan need to be reviewed and approved by the Planning Division through the appropriate process prior to inspection. 

2. The Planning Division has referenced certain section of the Land Development Ordinance (LDO) and the Development Design Standards (DDS). A copy of these document are available at: 
LDO
DDS
3. The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

4. Signage was not reviewed, nor was it approved as part of this review. All signage will need to obtain a separate sign permit for all signage.
5. Prior to the approval of the replat, the applicant and the Town will need to have a signed Subdivision Improvement Agreement (SIA) in place. At the time of resubmittal, please provide the cost estimates so that staff may draft this agreement for your review.
6. The Town of Parker has implemented a naming convention for all applications. For all future documents that are uploaded to TRAKiT please ensure the submittal round is first, the name of the document is second and the name of the project is third. Staff will not refer the application out with this naming convention.

a. Example: “05 Site Plan”
General
1. Please see the attached redlines for additional information.

Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Parking

Staff has no additional comments on the parking. 
Landscape Plan
1. Please see the redlines for additional comments. 
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Lighting

1. Please see the redlines for additional comments.
Comment Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


Development Design Standards
Staff has not additional comments on the elevations.
OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  At the time this letter was drafted, the following agencies have provided comments for the applicant to address. It is in the applicant’s best interest to continue to monitor the project in TRAKiT as additional comments may be posted after the release of this letter.

· Fire Life Safety
· Town of Parker Stormwater – CD’s, Drainage Plan & Site Plan
· Town of Parker Engineering – CD’s
· IREA

· Parker Water and Sanitation District (PWSD)
Comment(s) Addressed:

 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

Response: 


_______________________________________


__________________

Property Owner







Date

Cassie Younger 






11/6/22
_____________________________________


__________________

Project Representative






Date

DCI has reviewed and addressed each redline\comment from the attached plans.








Russel Mills has addressed the additional comments in the attached redlines





NEI has incorporated the comments into the latest subnmittal  





Stormwater responses are included in submittal. IREA, Fire, and PWSD have signed off on plans. 








