Project #SP21-146

Planning Review Comment Responses

Photometric plans need to table: max illuminance, uniformity ratios (average to min and max to min) for roadways and parking lot. - Please refer to the calculation summary table in photometric drawing.

Manufacturer's specs calling out graphic of luminaire, structure, and details (specifically its height and lamp type)  - Please find the height of the fixtures in photometric drawing and also refer to the cutsheet attached.

If new free standing poles are part of submission, need to show setback of poles from lot line. - No new free standing poles on this site.