April 26, 2023

Mr. Alex Mestdagh, P.E.

Town of Parker – Engineering Department

20120 E. Mainstreet

## Parker, Colorado 80138

RE:	SP23-006 Crown Point F1 AMD 20 L4E – Land of Sushi

Engineering Department Submittal Comments Response

Dear Mr. Mestdagh,

Please find below our responses to the Engineering Department review comments to the Construction Documents facilitate your review, we have included the original comments (key issues and numbered comments) in italicized font and have provided our responses in bold.

Traffic and Roadway Review Comments

Construction Plans – Civil

1. Provide all Town standard construction notes in the plan set. Please reference link below

for most current version of standard notes.

https://www.parkeronline.org/DocumentCenter/View/1038

Response: Town Construction notes added to the plan set.

Site Plan – Civil

1. While not required for access points along private roadways, it is highly recommended by

Town staff that sight lines in accordance with Town standard detail 24 be evaluated by design staff to ensure safe ingress and egress from the property.

Response: Site triangle exhibit has been added to this submittal.

Traffic Impact Study – Civil

1. Provide full trip generation calculations based on current ITE standards and ensure that

the values generated are in conformance with the original assumptions of the master traffic study.

Response: Full Trip calculations have been added

Stormwater Review Comments

Construction Plans – Environmental

1. Please add the Subdivision, Filing, Amendment, Lot to the Title Block on the right edge

of the sheets, specifically, CROWN POINT F1, AMD 20, LOT 4E.

Response: Added to titleblock on the right edge of sheets.

2. Please add notes stating – “THE VTC PAD FOR A CWA DOES NOT NEED TO

CONFORM TO THE FORMAL VTC DETAIL”, and “THE TRUE LOCATION OF

THE CWA MAY BE DETERMINED BY THE TOWN AND THE ECS”.

Response: Added the above notes.

3. Please add a note stating – “THE TRUE LOCATION OF THE PORTABLE TOILET

PROTECTION (PTP) MAY BE DETERMINED BY THE TOWN AND THE ECS”.

Response: Added note.

4. Please show multiple Portable Toilet Protections (PTP), a site this size must have at least

3 at initial phase.  Addition PTPs may be needed in the interim and final phases.

Response: Added PTP throughout the site for initial, interim and final phases.

5. Please provide a callout outside the perimeter controls along the public sidewalk(s) to be

modified/replaced with the project that states the following: “ALL WORK WITHIN

PUBLIC RIGHT-OF-WAY (ROW) WILL REQUIRE A TOWN ROW PERMIT.

INITIAL AND INTERIM CBMPS FOR WORK WITHIN THE TOWN’S ROW SHALL

BE COORDINATED WITH THE TOWN’S ENVIRONMENTAL INSPECTOR PRIOR

TO THE BEGINNING OF ANY ROW WORK.”

Response: Added callout along public sidewalks with the above note.

6. Please add a note to the Initial, Interim and Final Erosion Control plan sheets stating:

“ANY BULK FUEL STORAGE REQUIRES A FIRE LIFE SAFETY PERMIT FROM THE TOWN PRIOR TO INSTALLATION.” Please contact Randy Capra at rcapra@parkeronline.org or 303-805-3163 for FLS Permit questions.

Response: Added note to Erosion Control Sheets

7. Please show the appropriate type of Inlet Protection Curb on Sump (IPCOS) for the

existing inlets on-site.

Response: Renamed IPS to IPCOS for all inlet protection located in the sump condition.

8. Please provide the Town of Parker’s Legend of Keys/Symbols to correspond to the

Town’s 31 CBMP Notes & Details on the Erosion Control plan sheets.  Please use the

Town of Parker Keys/Symbols on the plan sheets.

Response: Acknowledged.

9. Please include within the plan set, immediately after the Interim/Final Erosion Control

plan sheet, all 72 pages of the Town of Parker’s CBMP Legend, General Notes & CBMP

Details.  List in the order of CBMP Legend, General Notes, and CBMP Details, with the

CBMP Details in alphabetical order.

Response: Included all 72 pages of Town of Parker CBMP sheets.

10. Add a callout/label on all properties adjacent to the project stating: “NO WORK SHALL

OCCUR IN THIS AREA”.

Response: Added callout/label to properties adjacent to property.

Initial CBMP Plans

11. Please show the VTC to be 50-feet in length on the Initial Erosion Control plan sheet.

Response: VTC is now 50 feet in length on Initial Erosion Control.

12. Please add notes stating – Please show jersey barriers or construction fence along the sides of the VTC to assure use of the entire 50-foot pad.

Response: Added construction fence along the sides of VTC.

Interim/Final CBMP Plans

13. Show Masonry Work Protection (MWP) on the plans for construction of the building.

Response: Masonry Work Protection added.

14. Sediment Control Log (SCL) is required at back of curb and back of sidewalk immediately after installation of asphalt in roadways and parking areas.  This includes landscape islands and all pedestrian walks.  Please provide and identify on plans where needed.  Note: if tree lawn/landscape areas are graded to final grade, Erosion Control Blanket (ECB) may be used to cover the entire tree lawn/landscape area instead of using SCL at back of sidewalk/curb.

Response: SCL added along sidewalk and landscape islands.

15. Please provide proposed grading contours, label and identify the ratio of all slopes that

are 4:1 or steeper, and provide/identify Erosion Control Blanket (ECB) on all slopes 4:1 or steeper.

Response: For grades steeper than 4:1, ECB is being provided.

16. Provide and identify Debris and Trash Control (DTC) for the interim phase along all

proposed paved driving surfaces internal to the site.

Response: DTC added to the interim phase.

Construction Plans - Stormwater

1. The Town’s “Storm Drainage Infrastructure Notes” appear to be missing. Include current

notes provided in the SDECM on the Town’s website (http://parkeronline.org/577/Storm-Drainage-and-Environmental-Criteri)

Response: Added Storm Drainage Infrastructure Notes

2. All storm sewer systems collecting drainage from the proposed drive aisles and parking areas must adhere to the standards and specifications outlined within Section 6.3.3 of the Town’s SDECM, including the use of 18-inch minimum RCP and dedication of drainage easements.

Response: Storm changed to 18-inch minimum and added drainage easements.

3. Provide minor and major storm hydraulic grade lines on all storm sewer profiles.

Response: Minor and major storm hydraulic grade lines added

4. Provide and identify all utility crossings and the proposed clearance between utilities on the storm sewer profiles.

Response: Acknowledged, added crossing information.

5. Provide a minimum of 0.2-feet in drop between any invert into a structure and the invert out of the structure. Specifically noted, the proposed invert in to existing structure S-4 appears to be proposed lower than the existing invert out of the structure.

Response: Added 0.2 drop to structure.

6. Provide CDOT standard details for all proposed storm sewer infrastructure.

Response: Added CDOT standard details for proposed storm sewer.

7. Provide the Town’s standard manhole cover detail. Please reference RDCCM Appendix A for the most current version of said detail.

Response: Added standard manhole cover detail.

Construction Plans - Stormwater

1. Provide and identify all necessary drainage easements on the landscaping plan.

Response: Added drainage easements to landscape plan.

Drainage Report

1. Provide descriptions for the routing of the proposed offsite basins. This should include receiving infrastructure, information supporting that this infrastructure has capacity, and detai any necessary mitigation to downstream infrastructure to account for these flows. Please note that compensatory storage in conformance with the criteria of the SDECM may be required depending on what existing infrastructure is proposed to receive these flows.

Response: Provided descriptions of offsite basins.

2. Provide additional discussion in the narrative on how the Town’s Water Quality standards are being met by the existing infrastructure. Specifically, water quality in accordance with Tier 3 permanent best management practices should be discussed.

Response: Added discussion on how Town’s Water Quality standards are being met.

3. Provide all hydraulic calculations for pipe flows and sizing.

Response: Hydraulic calculations have been added.

Thank you in advance for taking the time to review this application.  We look forward to working with you towards approval of this development proposal.

Sincerely,

GALLOWAY

Matthew Pepin

Civil Project Engineer

matthewpepin@GallowayUS.com