November 30, 2023

Site Plan Adjustment

Re:  Permit #COM22-0080

Car Wash - 12191 Sliceroo Dr. Parker, CO 80134

Recap of adjustments made at above listed address:

- Color of Nichiha Panel N2 (SW7655) is Ivory color vs. Light Gray tone

- North elevation store front is a 3-panel system vs. 4-panel system

- Yellow safety vinyl was added at overhead doors for vehicle safety

- Mechanical louvers required at East and West man doors, upper transom paint to match exterior finishes

- Electrical meter housing and electrical panels painted to match exterior finish materials

- Exterior wall pack lights lowered below awning to allow driveway to be illuminated

David Black

Pioneer Group, Inc.