8/05/2025

RE: Cobblestone Car Wash (Quick N Clean) 9572 Twenty Mile Rd, Parker, CO

Stacey,

This is a brief narrative of the site plan revisions and corrections made to the Cobblestone Car Wash located at 9572 Twenty Mile Rd in Parker in the “R3” drawings.

- All dead landscape plants have been removed and replaced. Missing landscape plants have been added.

- The bike rack has been installed. Shown on 16/A7.3 of the “R3” drawings.

- The Building Elevations have been revised to match the built conditions.

- The Photometric plan has been updated to reflect the asbilt conditions..

Mike Schulze

Cobblestone Car Wash

mschulze@spotlessbrands.com