[image: image1.png]@ Xcel Energy

PUBLIC SERVICE COMP




Siting and Land Rights






























Right of Way & Permits


1123 West 3rd Avenue



Denver, Colorado 80223



Telephone: 303.571.3306










      Facsimile: 303. 571.3660









donna.l.george@xcelenergy.com
November 24, 2014

Town of Parker

20120 E. Mainstreet

Parker, CO  80138

Attn:  
Patrick Mulready
Re:  
Crown Point F1 L4 AMD15 Boondocks, Case # SUB14-0019
Public Service Company of Colorado (PSCo) has reviewed the plans for Crown Point F1 L4 AMD15 Boondocks.  Please be aware PSCo owns and operates existing natural gas distribution facilities within the subject property. To ensure that adequate utility easements are available within this development, PSCo requests that minimum ten-foot (10') wide dry utility easements are hereby dedicated on around the perimeter of each commercial/industrial lot in the subdivision or platted area not including he existing 15-foot utility easement to the north of Lots 4 and 5. These easements are dedicated to the Town of Parker for the benefit of the applicable utility providers for the installation, maintenance, and replacement of electric, gas, television, cable, and telecommunications facilities (Dry Utilities). Utility easements shall also be granted within any access easements and private streets in the subdivision. Permanent structures, improvements, objects, buildings, wells, water meters and other objects that may interfere with the utility facilities or use thereof (Interfering Objects) shall not be permitted within said utility easements and the utility providers, as grantees, may remove any Interfering Objects at no cost to such grantees, including, without limitation, vegetation. Public Service Company of Colorado (PSCo) and its successors reserve the right to require additional easements and to require the property owner to grant PSCo an easement on its standard form.
Public Service Company also requests that all utility easements be depicted graphically on the preliminary and final plats. While these easements may accommodate certain utilities to be installed in the subdivision, some additional easements may be required as planning and building progresses.
The property owner/developer/contractor must contact the Builder's Call Line at 1-800-628-2121 and complete the application process for any new gas service or modification to existing facilities. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details in order to provide gas and electric service to this project. Additional easements may need to be acquired by separate document for new facilities. 

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center at 1-800-922-1987 for utility locates prior to construction. 
If you have any questions about this referral response, please contact me at (303) 571-3306. 

Donna George

Contract Right-of-Way Referral Processor

Public Service Company of Colorado

