The Grandview Estates Rural 

Water Conservation District

P.O. Box 4292, Parker CO 80134, (303) 805-1690 Phone, (303) 805-2340 Fax

Jeffrey Haselhorst, President

 “Working to Preserve Water Resources for Future Generations”









March 3, 2016
Patrick Mulready, Senior Planner

Development Review Division

Town of Parker .

20120 E. Mainstreet 

Parker, CO 80138 

RE:  Referral Response and Comment- Compark Village South; SB15-0054, 3241 Filbert; Chambers Highpoint  

Dear Mr. Mulready and Planning Department: 

Thank you for meeting with members of the Grandview community on February 18th and for extending the deadline for comment on this very important project.  You gave us the courtesy of submitting referral response from the Grandview Estates Homeowners Association and the Grandview Estates Rural Water Conservation District, because one of the referral contacts was out of date, and both had not been retrieved and/or received on the respective incoming systems. We are complying to the very best of our ability.  Thanks again. 

BELFORD AVENUE:

WEST: 

The maps provided depict Belford, a four lane connector with 40 mph traffic, less than 200 feet from the northwest corner of the Grandview Estates section line. The nearest home appears at approximately 270 feet, and at approximately 240 feet from the drainage improvements to be located parallel and south of Belford. Community members are concerned that the road may further disrupt the progression of floodwaters to Green Acres tributary, and runoff from Belford may  exacerbate the serious condition on First Street, where flood waters have impacted the road and drainage on many occasions. See Street Index Sheet, 5 of 32, and see Minor Development Plat, Sheet 2 of 4. Further, no measures are depicted or mentioned to ensure that hazardous fluids from vehicle accidents or normal traffic do not end up migrating to nearby wells.  It appears that the well permits that Stonegate procured north of Grandview for monitoring wells have been canceled.  
Recommendations: 

1. GERWCD recommends that the appropriate agencies (Army Corps of Engineers, EPA, Colorado Dept of Public Health and Environment, Cherry Creek Basin Water Quality Control Authority, and Urban Drainage and Flood Control District) be consulted on this topic during this referral process to determine if mitigation measures are required.
2. GERWCD requests that more complete information be provided on water sources for irrigation and domestic use for this project, in order to assure that Grandview wells will not be affected.  Should there be plans to drill additional wells for the project that information should be provided before preliminary sketch and site plan hearing. 

3. On reviewing the maps with the community, Mr. Mestdagh was fairly confident that, by re-aligning and straightening the curves directly east of the section line between Compark and Green Acres, and possibly on the west side as well, Belford can be moved north and away from Grandview at the western section line. The maps now show exaggerated curves that had not appeared previously on conceptual drawings offered by Douglas County or in the first stages of applications with the Town of Parker.  Removing or minimizing these curves could help to cut costs of construction, add to the safety of the road, and reduce the impact on the Grandview community.   

2. At previous hearings, there were representations that First Street in Grandview would be paved from the section line to Dogwood Avenue in order to facilitate better and safer drainage, and to enhance the value of the project to the Grandview community.  The paving commitment should appear at this phase of the project, and should be fully mapped with necessary drainage plans included. 

3.  Fire hydrant availability to Grandview, as previously represented, should be platted now on the maps.

4. The present plan for only emergency access through Grandview should be confirmed. 

5.  Construction of Belford should not proceed with a minimal bond and in a piecemeal fashion until the complete plan, with final cost figures from Peoria to Chambers, has been disclosed The cost workup should include all drainage, landscape, flood control, berm design, and elevation considerations.  The bond required should reflect the entire project cost and be presented before construction commences.

EAST: 

Belford connects with Chambers and stands at approximately 70 feet from the northwest corner of Grandview.  The nearest home and well sit at approximately 240 feet.  An existing berm constructed as a spillway for Chambers Reservoir rises approximately forty feet from the Grandview property.  Belford is now planned to be constructed directly northeast of that berm. The berm has no landscaping and is infested with thistles. Traffic noise, pollution and drainage are problems and major improvements are needed to rehabilitate the existing berm for that purpose. There is risk of flooding should the spillway discharge water.  

Recommendations: 
1. GERWCD requests that more complete information be provided on water sources for irrigation and domestic use for this project, in order to assure that Grandview wells will not be affected.  Should there be plans to drill additional wells for the project that information should be provided before preliminary sketch and site plan hearing. 

2. As already mentioned in the Grandview Homeowner Association’s first referral response to the Compark 190 project with Douglas County, the frontage road is projected to carry several thousand vehicles per day and appears to be only a few feet from the edge of the Chambers Reservoir and spillway, yet no measures are depicted or mentioned to ensure hazardous fluids from vehicle accidents or normal traffic do not end up polluting the water in Chambers Reservoir, water downstream via the spillway, or nearby wells in Grandview . Since this was a concern with the Reuter-Hess Reservoir that caused the re-alignment of Stroh Road, we recommend the appropriate agencies (Army Corps of Engineers, EPA, Colorado Dept of Public Health and Environment, Cherry Creek Basin Water Quality Control Authority, and Urban Drainage and Flood Control District) be consulted on this topic during this referral process to determine if mitigation measures are required.

3. Mr. Mestdagh acknowledged that a completely perpendicular alignment for the bridge across Happy Canyon Creek is not imperative, and would allow Belford to intersect with Chambers somewhat to the north of present location. Again the exaggerated curves on Belford should be realigned to place its intersection with Chambers at the most northerly position possible to comply with required distances from the E-470 intersection. Belford initially was conceptualized as Frontage Road and will serve that purpose. 

.  . 

4. A traffic count estimate should be part of this application and include all cars wishing to avoid C-470 traffic, or E-470 tolls.  Cars will be pouring off the highway.  An adequate estimate of traffic should commence at this time, before construction.

5. Especially now that the plan is to have Stonegate, and not ACWWA, provide water for the project, some intergovernmental agreements will be necessary to decide what entity is responsible for landscaping and other improvements for the berm by Chambers Reservoir. The present condition of the berm is deplorable, and totally inadequate to screen noise and pollution from traffic on Belford.
6. Belford is acknowledged to act as a spillway, and in this case for Chambers Reservoir.  Planning should be extremely detailed to prevent a flood event and toxic fluid migration to water supplies, impacting the Grandview properties and water sources.  Planning should include but not be limited to consultation with the entities identified in paragraph 1 of this recommendations for the eastern portion of Belford. .  

Thank you kindly for your consideration of this response.  

Sincerely, 

Jerri Hill, Vice Chair 

Grandview Estates Rural Water Conservation District
