Memorandum

To:         Stacey Nerger, Associate Planner

Date:	May 4, 2020

From:	Alex Mestdagh, P.E., Engineering Services Manager

Michael Grabcyzk, P.E., Project Manager

Cc:	Tom Williams, P.E., Director of Engineering/Public Works

Subject: Compark Village South Filing No. 2 and Filing No. 2 Amendment 1 – Plan Revisions

Document				Date Received

Construction Documents		April 2020

The Engineering Department has reviewed the documents submitted for this project.  Based on our review we have the following comments:

General Comments

- The Public Improvement Cost Estimates for these subdivisions should be updated to reflect 2020 construction costs.  These exhibits can be administratively replaced into the Subdivision Improvement Agreement.

Construction Plans – Roadway and Traffic

- Add midblock curb ramps on the south side of Bunny Hop Lane at Badger Run Street, Elk Path Way, and Racoon Tail.  These ramps should be aligned with the trail connections to the south where applicable.

- Coordinate any proposed trail connection south of Bunny Hop Lane at Badger Run Street with the landscaping plans.  If a trail is proposed, ensure it is coordinated with the storm sewer located in the area.

- Landscaping Plans – ensure that no trees are proposed within 100 feet of the approach side of traffic signs.

- Sheet 7 (Filing No. 2) – clarify trail/sidewalk interaction on the east side of Wolf Fox Street.

- Specify that all alley entrances from public roadways should use the Town’s Commercial Driveway standard detail (#20).

CONSTRUCTION PLANS – ENVIRONMENTAL

GENERAL COMMENTS

- Please note that the CBMP estimate will be reviewed with the Grading Permit after all CBMP comments have been addressed and the site plan is near approval.

- Label the Green Acres Tributary on each of the CBMP sheets where shown.

- All storm sewer and inlets for AMD1 are installed with F2.  Show the existing inlet protections from the F2 plans on both the initial and interim/final CBMP plan sheets.

INITIAL CBMP PLANS

- Show the “existing” storm sewer and structures proposed with the F1 and F2 improvements.

- Show existing rough cut street control (RCSC) as installed with the rough street grading performed with F2.

INTERIM/FINAL CBMP PLANS

- Utilize the same surfaces/contours provided on the initial CBMP sheets – no grading is proposed with AMD1 as it will be graded with F2. Also, remove reference to the F1 interim grading which will be filled in prior to the installation of the AMD1 infrastructure.

- Provide and identify sediment control logs (SCL) along all paved areas adjacent to landscape/pervious areas. This includes the private alleys, trails, and sidewalks.

- Remove the check dams from the streets and utilize rock socks within the gutter instead.

- Continue to show the perimeter silt fence, VTC, SSA, and PTP on the interim/final CBMP plans.  These will be removed at the direction of the Town’s environmental inspector.

DRAINAGE REPORT

- Provide a drainage conformance letter specific to F2 AMD1.  No storm infrastructure is proposed with AMD1, therefore the conformance letter simply needs to confirm the AMD1 imperviousness/configuration in relation to what was anticipated within the F1 and F2 report and letter.

An attempt has been made to identify all of the items that do not meet the Town of Parker’s design criteria; however, it remains the developer’s responsibility to ensure that all criteria are met.

If you have any questions regarding the comments please do not hesitate to contact the Engineering Department at (303) 840-9546.