6901 South Pierce Street, Suite 315 Littleton, Colorado 80128     303-232-8088

1June 13, 2018

Mr. Paul Workman

Town of Parker Planning Department

20120 East Mainstreet

Parker, CO 80138

SUBJECT:	ANX17-008, SUB17-058, and Z17-024 Annexation, Minor Development Plat, and Zoning for Parker Pointe

This review letter has been culled to only include Plat and CD comment responses. Comments for Zoning and Annexation will be addressed in separate letters. I have added responses in red to facilitate easy reading.

TOWN OF PARKER PLANNING DEPARTMENT CASE PLANNER:

Paul Workman

EMAIL: pworkman@parkeronline.org

PHONE:  303.805.3327

GENERAL PROJECT COMMENTS:

- The Planning Division has referenced certain sections of the Land Development Ordinance (LDO). A copy of this document is available at:

LDO

- The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

- Staff is preparing an Annexation Agreement. The Annexation Agreement will need to be agreed to and signed by the applicant prior to scheduling any public hearings. The applicant can expect the Annexation Agreement to include things like, but not limited to; undergrounding utility lines, establishing a Business Association to maintain common areas, preservation of existing trees, obligations related to trail/open space requirements, and zoning restrictions.

  - Please note: the developer will be required to establish some sort of private association for the maintenance of shared spaces. Comment noted. A private CC&R document will be prepared outlining responsibilities for maintenance.

  - Please note: The Town will not schedule any public hearings until the subject property has been included in the Parker Water and Sanitation District (PWSD). Please provide information as to the status of the property’s inclusion into PWSD. All materials are in to Parker Water and we are scheduled for hearing on inclusion.

- Staff is preparing a Subdivision Improvement Agreement (SIA). The applicant can expect the SIA to include things like, but not limited to, security for public improvements and payment of fees (including fees associated with the removal of existing trees).

- This comment letter addresses the review of the annexation, zoning, and minor development plat applications. Therefore, no comments related to the specific Site Plans have been made within this comment letter. Comments related to the specific Site Plans have been provided by Carolyn Parkinson and may be impacted by the comments contained in this letter.

- In response to the initial comment letter that was no response related to the observed bird nest or the comments related to the historic structures. Please ensure that the next submittal addresses these items and resolves these comments. We have retained an environmental consultant to prepare a report on the nest as well as disturbance of sensitive areas. His report is included in the submittal materials. He is also preparing the requested report for the Historical Society. As for the structures, they will all be torn down. The barn / house has been vandalized and wood removed making it un-safe to enter.

MINOR DEVELOPMENT PLAT

Sheet 1 of 2:

Repeat Comment(s):

- Please revise the notary information in the dedication statement. The property owner cannot notarize their own signature.

Comment Addressed:		 Yes		 No

Response:

Notary block revised.

- Staff has added notes to this sheet that need to be incorporated by the applicant. Please revise.

Comment Addressed:		 Yes		 No

Response:

Notes added.

- The Surveyor’s Certificate needs to match the language in 13.07.130.c of the LDO.

Comment Addressed:		 Yes		 No

Response:

Certificate revised.

- Per 13.07.130.f of the LDO, the Title Verification needs to be notarized.

Comment Addressed:		 Yes		 No

Response:

Notary added.

- The Town Council signature needs to match the language in 13.07.130.e.2 of the LDO and contain signature blocks for the Mayor and the Town Clerk.

Comment Addressed:		 Yes		 No

Response:

Language revised and Mayor and Town Clerk added. Tracks A&B are to be owned and maintained by the Town of Parker.

- This sheet needs to include a Tract Summary Table of all tracts, their ownership, and their maintenance.

Comment Addressed:		 Yes		 No

Response:

Tract Summary Table added.

Sheet 2 of 2:

Repeat Comment(s):

- The existing lot lines need to be shown on this sheet in a lighter line color.

Comment Addressed:		 Yes		 No

Response:

Existing lot lines added to the plan.

- The eastern most shared access needs to be shifted as far east as possible for consistency with the zoning map, the construction plans and previous conversations.

Comment Addressed:		 Yes		 No

Response:

Revised.

- The proposed shared access at the north end of the site (running east-west) needs to shift to the south for consistency with the zoning map, the construction plans and previous conversations.

Comment Addressed:		 Yes		 No

Response:

Revised.

CIVIL CONSTRUCTION PLANS

Repeat Comment(s):

- Planning staff was unable to locate the Parker Road and/or Stroh Road construction documents. Please provide additional information as to where these were uploaded and revise these plans to reflect that the existing overhead power lines along Parker Road and Stroh Road will be relocated underground.

Comment Addressed:		 Yes		 No

Response:

These plans are located within the Civil Construction Plans sets. The call to underground utilities on Parker and Stroh can be found on sheet C5.10 for Stroh Road and sheets C5.16 and C5.17 for Parker Road.

- The common area landscaping information in this document needs to be removed from this plan set and attached to the Minor Development Plat (MDP) application.

Comment Addressed:		 Yes		 No

Response:

The landscape plans are removed from the Town Civil CD set and included as a separate set in the Subdivision Plat application. Landscape plans are required for the Parker Water and Sanitation plan set and will remain there also.

- The area between the property lines and the back of the sidewalk adjacent to Parker Road needs to include additional clusters of shrubs.

Comment Addressed:		 Yes		 No

Response:

Additional cluster of shrubs have been added to the plans.

Sheet 66 of 74 (L100):

- The total amount for the tree mitigation payment needs to be shown on this sheet from the valuation document. This amount will need to be paid to the Town prior to approval of the construction plans.

Comment Addressed:		 Yes		 No

Response:

The amount for the tree mitigation payment has been added to the plans.

Sheet 67 of 74 (L101):

- Please identify what the icon is directly south of the shared access from Stroh Road.

Comment Addressed:		 Yes		 No

Response:

This symbol is the relocated (or rebuilt) existing three rail fence on Colorado Golf Site.  To be coordinated by Colorado Golf Club.

- Please identify the ground cover on the south side of the shared access from Stroh Road. Staff would recommend gravel mulch.

Comment Addressed:		 Yes		 No

Response:

All landscape areas (except annual beds) shall receive 2"-4" dia. multi-color rock mulch with double shredded bark mulch rings (4" thick).  Landscape Planting Notes reflect this.

Sheet 71 of 74 (L105):

Repeat Comment(s):

- Please provide additional information (elevations) for the area labeled “Community Art Piece Location”.

Comment Addressed:		 Yes		 No

Response:

The art piece is removed from the plan.

PROJECT NARRATIVE

General Comment(s):

- Staff has provided some minor red-lines to be addressed by the applicant.

Comment Addressed:		 Yes		 No

Response:

The narrative is revised per redlines.

DESIGN GUIDELINES

General Comment(s):

Staff has provided three examples of existing design guidelines that may help in the revisions to the document. Staff understands that these documents are likely longer and more detailed than what is necessary for this request. These have been provided for illustrative purposes.

Staff would be happy to review a revised version of this document prior to a formal resubmittal, if the applicant desires.

- Generally speaking these standards lack detail. Adding images may help clarify certain information without adding more text. Additionally, discussions related to these design standards had been more related to site layout and design rather than architecture, landscaping and signage as those are covered by the Town's code. Please ensure the next version focuses on site layout and design.

Comment Addressed:		 Yes		 No

Response:

Per our meeting, the design guidelines are removed from the application and replaced by a Concept Site Plan showing building placement for the front lots.

- This document needs to specifically address site layout for drive through and convenience store with gas station uses along Parker Road.

Comment Addressed:		 Yes		 No

Response:

Per our meeting, the design guidelines are removed from the application and replaced by a Concept Site Plan showing building placement for the front lots.

- This document needs to discuss connectivity to the open space on the south and how development on the southern two lots will accentuate that amenity.

Comment Addressed:		 Yes		 No

Response:

Per our meeting, the design guidelines are removed from the application and replaced by a Concept Site Plan showing building placement for the front lots.

- Staff has made a variety of text edits. Please revise as red-lined.

Comment Addressed:		 Yes		 No

Response:

Per our meeting, the design guidelines are removed from the application and replaced by a Concept Site Plan showing building placement for the front lots.

OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  These comments are available on eTRAKiT.

Comment(s) Addressed:		 Yes		 No

Response:

Individual response letters are included in the submitted materials.

_______________________________________			__________________

Property Owner								Date

_____________________________________			__________________

Project Representative							Date