# Development Review Division

Community Development Department: Town Hall / 20120 East Mainstreet Parker, CO 80138 Phone: 303.841.2332 Fax: 303.841.3223

MEMORANDUM

TO:		Jerry Davidson, Perception Design Group

FROM:		Paul Workman, Senior Planner

DATE:		April 16, 2018

SUBJECT:	ANX17-008, SUB17-058, and Z17-024 Annexation, Minor Development Plat, and Zoning for Parker Pointe

Listed below are the Planning Division’s comments related to your applications, which must be responded to. If you wish to discuss a comment, please contact your Case Planner.  Upon resubmittal, please sign and return this memo.  A follow-up meeting with the reviewing agencies can be scheduled to provide additional guidance by contacting the Case Planner.

TOWN OF PARKER PLANNING DEPARTMENT CASE PLANNER:

Paul Workman

EMAIL: pworkman@parkeronline.org

PHONE:  303.805.3327

GENERAL PROJECT COMMENTS:

- The Planning Division has referenced certain sections of the Land Development Ordinance (LDO). A copy of this document is available at:

LDO

- The Planning Division has made every effort to make this comment letter as comprehensive as possible. However, additional comments that have not been provided as part of this comment letter may be identified as part of future submittals, based on revisions to the project.

- Staff is preparing an Annexation Agreement. The Annexation Agreement will need to be agreed to and signed by the applicant prior to scheduling any public hearings. The applicant can expect the Annexation Agreement to include things like, but not limited to; undergrounding utility lines, establishing a Business Association to maintain common areas, preservation of existing trees, obligations related to trail/open space requirements, and zoning restrictions.

  - Please note: the developer will be required to establish some sort of private association for the maintenance of shared spaces.

  - Please note: The Town will not schedule any public hearings until the subject property has been included in the Parker Water and Sanitation District (PWSD). Please provide information as to the status of the property’s inclusion into PWSD.

- Staff is preparing a Subdivision Improvement Agreement (SIA). The applicant can expect the SIA to include things like, but not limited to, security for public improvements and payment of fees (including fees associated with the removal of existing trees).

- This comment letter addresses the review of the annexation, zoning, and minor development plat applications. Therefore, no comments related to the specific Site Plans have been made within this comment letter. Comments related to the specific Site Plans have been provided by Carolyn Parkinson and may be impacted by the comments contained in this letter.

- In response to the initial comment letter that was no response related to the observed bird nest or the comments related to the historic structures. Please ensure that the next submittal addresses these items and resolves these comments.

ANNEXATION APPLICATION:

Annexation Petition:

Repeat Comment(s):

- No revised annexation petition was provided. As previously stated, this document needs to include all property owner signatures and the legal description for the property being annexed.

Comment Addressed:		 Yes		 No

Response:

Annexation Map:

Repeat Comment(s):

- Please add “Sheet 1 of 2” and “Sheet 2 of 2” to the top of each sheet.

Comment Addressed:		 Yes		 No

Response:

Sheet 1 of 2:

- The “Total Perimeter” and “Contiguous Property Line to the Town of Parker” need to be in a separate section for clarity. Please ensure that the calculations are still correct with the addition of the interior property lines to Sheet 2.

Comment Addressed:		 Yes		 No

Response:

- This sheet needs to include the Title Verification language from 13.07.130.f of the LDO.

Comment Addressed:		 Yes		 No

Response:

- The language for the Surveyor’s Certificate need to match the language from 13.07.130.c of the LDO.

Comment Addressed:		 Yes		 No

Response:

Sheet 2 of 2:

Repeat Comment(s):

- Please show the existing internal property lines.

Comment Addressed:		 Yes		 No

Response:

ZONING REQUEST

Zoning Criteria Analysis:

General Comment(s):

- Staff has made a variety of minor text edits. Please revise as red-lined.

Comment Addressed:		 Yes		 No

Response:

- This analysis needs to include information related to the Open Space designation that is needed for the floodplain dedication.

Comment Addressed:		 Yes		 No

Response:

Criteria Analysis:

- Criteria #1:

  - It appears that this answer is attempting to say that the buying public desires choices, but the wording is not clear. If this is the case, please expand the answer and make it clearer.

Comment Addressed:		 Yes		 No

Response:

- Criteria #4:

  - Please remove the second sentence in this response. It is confusing.

Comment Addressed:		 Yes		 No

Response:

- Criteria #5:

  - Please bullet the list of improvements for clarity.

Comment Addressed:		 Yes		 No

Response:

- Criteria #7:

Repeat Comment(s):

  - This criteria needs to discuss the tree preservation plan and compliance with 13.10.110 of the LDO.

Comment Addressed:		 Yes		 No

Response:

  - This criteria needs to discuss the bird’s nest that was observed on the property.

Comment Addressed:		 Yes		 No

Response:

- Criteria #8:

Repeat Comment(s):

  - This criteria needs to discuss how the proposal is consistent with the “Community Center” designation from the Town Master Plan.

Comment Addressed:		 Yes		 No

Response:

- Criteria #9:

  - This criteria will need to discuss the obligations related to trail/open space requirements.

Comment Addressed:		 Yes		 No

Response:

Zoning Map:

Comment(s) Based on Revisions:

- This map needs to include a second Planning Area that will be zoned “Open Space” to accommodate the floodplain that is being dedicated.

Comment Addressed:		 Yes		 No

Response:

- Please revise the vicinity map for accuracy.

Comment Addressed:		 Yes		 No

Response:

- Please provide dimensions for the hatched corner lot.

Comment Addressed:		 Yes		 No

Response:

- Please add all utility easements to this sheet to help inform staff’s comments related to the maximum setback.

Comment Addressed:		 Yes		 No

Response:

- Please revise the language for the hatched corner lot to the following:

“The following uses are not permitted within the designated hatched corner lot:

Car washes, gas stations, and restaurants with drive through”

Comment Addressed:		 Yes		 No

Response:

- Please revise the language for the bulk standards to the following:

“All C-Commercial bulk standards shall apply with the following addition:

The maximum building setback from the foundation of the primary structure to the property line adjacent to Parker Road and Stroh Road shall be 60-feet”

Please Note: staff cannot determine if 60-feet is appropriate as the maximum setback until all easements are shown on all applications. Staff may need to alter this setback based on easement sizes and locations.

Comment Addressed:		 Yes		 No

Response:

- Please remove the sentence related to landscape buffers. The Town does not modify landscape requirements with zoning.

Comment Addressed:		 Yes		 No

Response:

MINOR DEVELOPMENT PLAT

Sheet 1 of 2:

Repeat Comment(s):

- Please revise the notary information in the dedication statement. The property owner cannot notarize their own signature.

Comment Addressed:		 Yes		 No

Response:

- Staff has added notes to this sheet that need to be incorporated by the applicant. Please revise.

Comment Addressed:		 Yes		 No

Response:

- The Surveyor’s Certificate needs to match the language in 13.07.130.c of the LDO.

Comment Addressed:		 Yes		 No

Response:

- Per 13.07.130.f of the LDO, the Title Verification needs to be notarized.

Comment Addressed:		 Yes		 No

Response:

- The Town Council signature needs to match the language in 13.07.130.e.2 of the LDO and contain signature blocks for the Mayor and the Town Clerk.

Comment Addressed:		 Yes		 No

Response:

- This sheet needs to include a Tract Summary Table of all tracts, their ownership, and their maintenance.

Comment Addressed:		 Yes		 No

Response:

Sheet 2 of 2:

Repeat Comment(s):

- The existing lot lines need to be shown on this sheet in a lighter line color.

Comment Addressed:		 Yes		 No

Response:

- The eastern most shared access needs to be shifted as far east as possible for consistency with the zoning map, the construction plans and previous conversations.

Comment Addressed:		 Yes		 No

Response:

- The proposed shared access at the north end of the site (running east-west) needs to shift to the south for consistency with the zoning map, the construction plans and previous conversations.

Comment Addressed:		 Yes		 No

Response:

CIVIL CONSTRUCTION PLANS

Repeat Comment(s):

- Planning staff was unable to locate the Parker Road and/or Stroh Road construction documents. Please provide additional information as to where these were uploaded and revise these plans to reflect that the existing overhead power lines along Parker Road and Stroh Road will be relocated underground.

Comment Addressed:		 Yes		 No

Response:

- The common area landscaping information in this document needs to be removed from this plan set and attached to the Minor Development Plat (MDP) application.

Comment Addressed:		 Yes		 No

Response:

- The area between the property lines and the back of the sidewalk adjacent to Parker Road needs to include additional clusters of shrubs.

Comment Addressed:		 Yes		 No

Response:

Sheet 66 of 74 (L100):

- The total amount for the tree mitigation payment needs to be shown on this sheet from the valuation document. This amount will need to be paid to the Town prior to approval of the construction plans.

Comment Addressed:		 Yes		 No

Response:

Sheet 67 of 74 (L101):

- Please identify what the icon is directly south of the shared access from Stroh Road.

Comment Addressed:		 Yes		 No

Response:

- Please identify the ground cover on the south side of the shared access from Stroh Road. Staff would recommend gravel mulch.

Comment Addressed:		 Yes		 No

Response:

Sheet 71 of 74 (L105):

Repeat Comment(s):

- Please provide additional information (elevations) for the area labeled “Community Art Piece Location”.

Comment Addressed:		 Yes		 No

Response:

PROJECT NARRATIVE

General Comment(s):

- Staff has provided some minor red-lines to be addressed by the applicant.

Comment Addressed:		 Yes		 No

Response:

DESIGN GUIDELINES

General Comment(s):

Staff has provided three examples of existing design guidelines that may help in the revisions to the document. Staff understands that these documents are likely longer and more detailed than what is necessary for this request. These have been provided for illustrative purposes.

Staff would be happy to review a revised version of this document prior to a formal resubmittal, if the applicant desires.

- Generally speaking these standards lack detail. Adding images may help clarify certain information without adding more text. Additionally, discussions related to these design standards had been more related to site layout and design rather than architecture, landscaping and signage as those are covered by the Town's code. Please ensure the next version focuses on site layout and design.

Comment Addressed:		 Yes		 No

Response:

- This document needs to specifically address site layout for drive through and convenience store with gas station uses along Parker Road.

Comment Addressed:		 Yes		 No

Response:

- This document needs to discuss connectivity to the open space on the south and how development on the southern two lots will accentuate that amenity.

Comment Addressed:		 Yes		 No

Response:

- Staff has made a variety of text edits. Please revise as red-lined.

Comment Addressed:		 Yes		 No

Response:

OUTSIDE REFERRAL AGENCY COMMENTS

Please address all outside referral agency comments with a written response.  These comments are available on eTRAKiT.

Comment(s) Addressed:		 Yes		 No

Response:

_______________________________________			__________________

Property Owner								Date

_____________________________________			__________________

Project Representative							Date