6901 South Pierce Street, Suite 315 Littleton, Colorado 80128     303-232-8088

1November 09, 2018

Colorado Department of Transportation

Region 1 Traffic and Safety

2000 South Holly Street

Denver, Colorado 80222

SUBJECT:	Parker Pointe Response to Comments Hwy 83 Mile 56.846

Below I have reproduced your comment letter of 10-16-18 on the above project and added responses in red.

Drainage Comments:

12-13-2017

They need to provide hydraulics/hydrology analysis show any impact to SH83 as a result of the proposed development provide drainage map to show existing drainage patterns and the proposed patterns. Take a closer look at conditions downstream of the development and make sure that the newly concentrated surface flows will be handled properly. Parker Road ROW is included in the final drainage report including a map, runoff calculations, and Parker Road drainage basins. These comments have been previously addressed. It seems you are not getting the revised materials thru the E Trackit system. If there is anything you need, please call me and I will see you get the proper materials for review.

Samer

The drainage comments have not been addressed

Environmental Comments:

12/11/2017 There is mapped occupied habitat for Preble’s meadow jumping mouse within the portion of the CDOT ROW where the Parker Road widening would take place. Has the applicant received clearance or a permit from the USFWS? Application has been made to USFWS, under review but not yet approved.

4/2/2018 Still need response to comments made on 12/11/2017. I have included my June 25 response letter in the submittal materials. As above, it seems you are not getting the revised materials thru the E Trackit system. If there is anything you need, please call me and I will see you get the proper materials for review

Traffic Comments:

Scherner 10-3-18

Sheet C5.15 -

Remove Item 8, no diagonal lines Diagonal lines are removed.

Callout painted median width for left turn lane. Width of 7’ is called out.

Use double yellow limes for the painted left turn median. Keynote 9 is changed to double yellow.

Sheet C5.16 -

Item 14 - callout 30-10-30 skip line type. 30-10-30 added to keynote 14.

Item 5 - The R3-5 sign is incorrect, use sign R3-7R, 36"x36" Add one R3-7R sign at the beginning of the right turn lane. Keynote 5 change dto reflect requested sign. Additional sign added at about sta 46+20.

The signal pole and all related/required equipment in the southeast corner will need to be reset to the new island. This will require a separate signal plan sheet and will need to be reviewed by CDOT signal staff. The existing pole is within the new island and should not require re-location.

Resident Engineer Comments:

Sheet C5.16, 'Traffic Island Detail' (top right of sheet), Construction Note #9 should be a Type 3A curb ramp. Add sidewalk dimension. Note corrected and sidewalk width added.

Sheet C5.18 – 5.20 cross sections, median toe-of-slopes shall be 6:1 or flatter. Slope added at 6:1.

Sheet C5.21 -5.25 cross sections:

Toe-of-slope grade between back of walk to CDOT right-of-way line isn't provided. Preferably 4:1 or flatter. Tie in slope added to each cross section and extended to at least the ROW line.

CDOT Sidewalk M-609-1 should be noted. Sidewalk notation added to each section.

Permits Comments:

No further comments.

Thank you for your review and comments. Please contact me if additional revisions or clarifications are required.

Professionally,

Jerry W. Davidson, P.E.

For and on Behalf of

Perception Design Group, Inc.