6901 South Pierce Street, Suite 315 Littleton, Colorado 80128     303-232-8088

November 09, 2018

Mr. Drayton Sanderson

Parker Water and Sanitation District

18100 E. Woodman Drive

Parker, Colorado 80134

SUBJECT:	Parker Pointe Response to Comments Project #2018-017

Dear Mr. Sanderson,

Below I have reproduced your comment letter on the above project and added responses in red.

•	Submit an executed Standard Improvement Agreement with all required exhibits. Original executed document has been submitted.

•	A wet stamped and signed Engineers Estimate with a 20% contingency must be submitted directly to PWSD for verification and District approval. The approved document will be an Exhibit for the Standard Improvement Agreement and Letter of Credit. Original executed document has been submitted.

•	A letter of credit or Cash in Lieu based on the approved Engineers Estimate must be submitted before final approval is granted. Comment noted.

•	All proposed easements must be done by separate document (on the District's standard Easement Agreement). A wet stamped original version shall be submitted directly to PWSD regardless if they are done by Plat. Original wet stamped document has been submitted.

•	Please call out lot numbers for each lot in the overall utility plan. Lot numbers are added to the plan.

•	On sheet  C7.14 in plan view please call out SSM H-4. Call out added.

•	On sheet C7.09 & C7.14 please run the East sanitary sewer service line stub-out from the dead-end manhole (MH1). As currently designed the stub out would require a bend in the pavement to angle it into the lot. PWSD does not allow bends in sanitary sewer service lines under street pavement. Service line changed as requested.

•	Please provide a physical irrigation tap address for billing purposes . PWSD accepts  half  numbers(. 5) in the address. Addresses cannot be assigned until the plat is recorded. We request approval without an address with address to be provided prior to issuance of a permit.

•	Submit irrigation plans for verification and calculation of tap size(s) (include completed PWSD landscape worksheet-one worksheet per tap). PWSD received the landscape plans but not the irrigation plans. Irrigation plans are added to the set as sheets IR101 thru IR109. The worksheet is on sheet IR109.

•	Engineering inspection/review fees, SIA, letter of credit, Easement documentation with PWSD agreements attached, irrigation tap fees, domestic tap fees and mylars signed by Randy Capra with the Town of parker must be submitted before PWSD approval. Comment noted.

Thank you for your review and comments. Please contact me if additional revisions or clarifications are required.

Professionally,

Jerry W. Davidson, P.E.

For and on Behalf of

Perception Design Group, Inc.