November 17, 2021

Tyler Sandt, Development Review Engineer

Michael Walton, Project Engineer

RE:	Lincoln Profession Parker MDP and Preliminary Site Plan – Engineering 1st Review

HKS Project No. 200829

Dear Tyler and Michael,

Enclosed herein is the comment response letter for the Review of Lincoln Profession Parker MDP and Preliminary Site Plan – Engineering 1st Review. The first review comments that were provided on November 1st , 2020, have been addressed and are included with this letter.

Please let me know if you have any questions or require any additional information.

Sincerely,

HARRIS KOCHER SMITH

Rachel Patton, P.E.
Project Manager

General Comments:

- The public improvements associated with this project will be secured via a Subdivision Improvement Agreement. On future submittals, provide a public improvements cost estimate. This should only include work proposed in public right-of-way or any storm sewer that collects public flows.

HKS Response: Public improvements cost estimate provided.

- Provide a cost estimate for the restriping work associated with converting the existing westbound left at Lincoln and Dransfeldt to a double left. This will be a cash-in-lieu payment condition in the SIA.

HKS Response: Striping costs added to cost estimate.

- On future submittals, upload the Traffic Study.

HKS Response: Noted.

Construction Plans:

- Remove the proposed turning arrow striping shown in the northbound left at Dransfeldt and Road A. The striped out median will need to remain a “chicken lane” in this area.

HKS Response: Striping has been updated to reflect a “chicken lane”.

- In order to provide adequate transition distance and advanced warning per MUTCD, the proposed southbound through lane on Dransfeldt and Road A will need to carry through the Lowe’s driveway and connect to the existing southbound left at Dransfeldt and Parkglenn (Lincoln Meadows Parkway). Please note that advanced warning signage will not be accepted north of the intersection of Dransfeldt and Road A.

HKS Response: Noted.

- The Town will not permit east-west pedestrian crossings of Dransfeldt and Road A. Please revise the curb ramps to be directional and only facing north-south and provide 2’x’10’ crosswalk.

HKS Response: Curb ramps have been revised to be north-south only. Crosswalk striping added.

- Provide a 2’x10’ crosswalk at the site’s Lincoln Access.

HKS Response: Crosswalk striping added.

- Add the following note to the Overall Utility Plan in the PWSD set:

"The proposed utility connection will require a Town right-of-way permit prior to commencing work. The Town prefers connections to be bored to the extent possible, and any street cut allowed by the Town will be required to be patched according to the Town's construction standards and details. The limits of patching will be determined by the Town at the time of construction. The Town of Parker does not allow roadway closures for utility work.”

HKS Response: Note added.

- Add a note to the signing and striping plan noting that public striping is to be done with epoxy paint and specialty striping (crosswalks, arrows, etc.) will be thermoplastic.

HKS Response: Note added.

Plat:

Add the following notes to the plat: HKS Response: Notes Added.

A blanket drainage easement is hereby dedicated to the Town of Parker over and across Tract A for the purpose of accessing, maintaining, and repairing stormwater management improvements including, but not limited to, inlets, pipes, culverts, channels, ditches, hydraulic structures, riprap, detention basins, forebays, micropools, and water quality facilities in the event that the property owner fails to satisfactorily maintain or repair said facilities.

“ACCESS EASMENT ARE HEREBY GRANTED OVER ALL PRIVATE ENTRANCES AND INTERNAL ROADWAYS WITHIN THE DEVLOPMENT FOR THE BENEFIT OF ALL CURRENT AND FUTURE OWNERS OF THESE PROPERTIES FOR INGRESS, EGRESS AND TRAFFIC CIRCULATION. SHOULD PROPERTIES BE FURTHER SUBDIVIDED INTO ADDITIONAL LOTS, ALL SUCH LOTS SHALL HAVE THE RIGHT TO USE ALL SUCH ENTRANCES AND ROADWAYS FOR PUBLIC ACCESS PURPOSES.”

“NO CERTIFICATES OF OCCUPANCY, TEMPORARY OR OTHERWISE WILL BE ISSUED UNTIL ALL PUBLIC IMPROVEMENTS AND NECESSARY ONSITE IMPROVEMETS ARE COMPLETED AND ACCEPTED IN WRITING BY THE TOWN.”

“NO CERTIFICATES OF OCCUPANCY, TEMPORARY OR OTHERWISE SHALL BE ISSUED UNTIL THE LANDSCAPING IS INSTALLED AND APPROVED BY THE TOWN OR AS OTHERWISE ALLOWED IN THE LAND DEVELOPMENT CODE.”

“PRIVATE ACCESS DRIVES/ROADWAYS MUST BE CONSTRUCTED PRIOR TO THE ISSUANCE OF TEMPORARY CERTIFICATE OF OCCUPANCY AND/OR CERTIFICATE OF OCCUPANCY FOR ANY DEVELOPMENT OCCURRING ON PROPERTY SHOWN HEREIN.”

“PROPERTIES IN THIS PLAT ARE SUBJECT TO A PERPTUAL, NON-EXCLUSIVE CROSS PARKING EASEMENT FOR THE SHARED USE OF ALL PARKING SPACES SITUATED WITH THE PROPERTIES SHOWN HEREIN. THE OWNER OF EACH LOT SHALL KEEP AND MAINTAIN THE PARKING SPACES CONTAINED WITHIN THERE RESPECTIVE LOT IN A COMMERCIALLY REASONABLE CONDITION AND STATE OF REPAIR.”

- Show sight triangles at public access points (even those that do not require an easement) and add the following note to the plat:

"Within the sight triangles, as shown, limited landscaping shall be allowed but no solid structures or trees will be permitted. Solid structures shall include, but not be limited to, fences, mailboxes, and utility boxes. Landscaping within the sight triangles will be limited to shrubs and plantings that at maturity will be no taller than two feet. Landscaping within the sight triangle shall be maintained by the property owner or appropriate association."

HKS Response: Note added.

- Provide 25-foot drainage easements over all storm sewer not within the pond tract.

HKS Response: Drainage easements added to all storm not within pond tract.

Stormwater Review Comments:

The following comments concern drainage, erosion and sediment control, and non-point source pollution control issues for the subject property. They are based upon our review of the submittal documents against the criteria presented in the Town of Parker’s, Storm Drainage and Environmental Criteria Manual (SDECM), as revised, February, 2014. Additional regulatory and planning documents were utilized in the review, and are referenced in the comments where appropriate.

HKS Response: Noted.

Road and Storm Plans:

- All storm sewer systems collecting drainage from the proposed drive aisles and parking areas shall be considered public and must adhere to the standards and specifications outlined within Section 6.3.3 of the Town’s SDECM, including the use of RCP and dedication of drainage easements. Landscape drains, roof drains, and leaders for these systems are considered private and may be constructed with plastic pipe and catch basins. These private systems must connect to the public storm sewer system at an inlet or manhole structure.

HKS Response: Acknowledged.

- Provide and identify major and minor storm hydraulic grade lines on all storm sewer profiles.

HKS Response: HGL’s have been added and labeled.

- Please verify all proposed crossing utilities are provided on profiles with depth labels to show clearance between utilities where appropriate (ie if the clearance between utilities is 2-feet or less).

HKS Response: Crossing labels have been added to the plans.

- Provide a minimum of 0.2-feet of drop between any pipe in and the pipe out of a structure.

HKS Response: 0.2 foot drops have been provided at each structure.

- When changing pipe sizes across a structure match the soffit of the smaller pipe into the structure to the soffit of the larger pipe out of the structure where feasible.

HKS Response: Where smaller pipes connect to a structure with a larger pipe the smaller pipe matches the crown of the larger pipe.

- Based on measurements taken from the plans Storm Line B does not appear to have the minimum 12-inch of cover required by SDECM section 6.3.3.1. Please note that the 12-inches of cover is measured from the bottom rather than the top of the proposed pavement section.

HKS Response: Pipes have been adjusted to provide the minimum cover.

- A Type D inlet appears to be proposed in the roadway at the corner of Lincoln and Dransfeldt. Please note per the CDOT standard detail “Inlet Type D is not HS-20 rated and shall not be placed in paved roadways.” Please revise to a Type R or equivalent.

HKS Response: This structure has been revised to a CDOT type B manhole to connect to the existing line. This structure will not be in the roadway. The existing inlet will be relocated to the edge of the proposed roadway.

- What appears to be a proposed Type R inlet is shown in plan view on the corner of Dransfeldt and Lincoln just south of the proposed Type D, but no labeling or profile is provided. Please either remove the block if it is an artifact or provide corresponding labeling and profile.

HKS Response: Proposed inlet has been added to profile and labeled in plan view.

- Please verify that the proposed Flared End Section E3 appropriately daylights. Per the profile provided the FES appears to be approximately 5-feet below grade.

HKS Response: The FES has been adjusted to the existing grade.

- Several structures appear to be grabbing the existing rather than proposed surface. Please verify Rim elevations for these structures and revise the blocks to grab the proposed grade where appropriate.

HKS Response: Rim/Curb elevations for proposed inlets have been adjusted.

- Provide a detail for the pond forebay which complies with Figures 7.1 or 7.2 of the Town’s SDECM. The detail should provide at a minimum all dimensions, elevations, material, reinforcement, and any other information necessary to construct the forebay in compliance with the drainage report. Specifically noted section view and all relevant details as missing along with the forebay wall dimensions.

HKS Response: Forebay detail has been added and dimensioned. Structural reinforcement shall be designed by licensed structural engineer. See general note #5.

- Provide a detail for the forebay notch.

HKS Response: Forebay notch detail added.

- Provide a detail for the pond trickle channel which complies with Figure 7.3 of the Town’s SDECM. Specifically noted overbank slope and extents do not meet criteria.

HKS Response: Trickle channel detail added.

- Provide and identify the emergency overflow spillway extents and protection in plan view on the EDB plan sheet.

HKS Response: Overflow spillway added.

- Provide a detail for the pond emergency overflow spillway which complies with Figure 7.6 of the Town’s SDECM. The detail should provide a minimum of all dimensions, elevations, material, reinforcement, and any other information necessary to construct the emergency overflow spillway in compliance with the drainage report.

HKS Response: Spillway cross section added to details.

- Provide a detail for the pond outlet control structure which complies with Figures 7.5 or 7.9 of the Town’s SDECM. Specifically noted missing close mesh grates above micropool, 4-inch drop for initial surcharge volume, manhole steps, rebar layout, and bedding material.

HKS Response: Detail has been updated.

- Provide the Town’s maintenance road detail, Figure 7.4 of the Town’s SDECM. Identify in plan view the extents of each cross section to be used.

HKS Response: Maintenance path detail has been added

- Provide CDOT standard details for all proposed storm sewer infrastructure.

HKS Response: CDOT Details have been added.

- Provide Town of Parker standard detail for Manhole Covers. Please reference RDCCM Appendix A for the most current version of the detail.

HKS Response: Manhole Cover Detail has been added.

Drainage Report:

- Provide information regarding the major basin as defined by MHFD for the area in the Major Basin Description section of the narrative (ie Cherry Creek 4600).

HKS Response: Major basin as defined by MHFD added.

- Move the proposed basin descriptions to the Sub-basin Description section of the narrative.

HKS Response: Basin descriptions moved from storm section to sub-basin section.

- Provide additional details for the means of sizing the receiving 24-inch flared end section on the north east corner of the site. Also, provide information about the tributary area to the proposed flared end in the Sub-basin description section of the narrative.

HKS Response: Tributary area added to rational calcs and the report and used for sizing. Reference provided HGLs.

- Provide basin delineations for the areas anticipated to freely discharge offsite per the Development Criteria References and Constraints section of the narrative. Compensatory storage will need to be provided for any flows bypassing the proposed EDB in accordance with SDECM Section 7.2.4.

HKS Response: No off-site flows are anticipated, compensatory storage will not be needed

- Please note the 5-year storm is considered the minor storm for commercial per SDECM Table 2.3.

HKS Response: Minor Storm updated.

- Please note that a 40-hour release time is required for the WQCV in EDBs. Please revise the Hydrologic Criteria section of the narrative to reflect the appropriate release time.

HKS Response: Criteria section updated.

- Reference the means for calculating storm sewer capacity and hydraulic grade lines in the Hydraulic Criteria section of the narrative. Provide the calculations in the appendix.

HKS Response: means for calculating storm capacity and HGL’s have been added.

- Provide the required hydraulic grade line criteria in the Hydraulic Criteria section of the narrative. Reference SDECM section 6.3.3.4 for said criteria.

HKS Response: HGL criteria added to Hydraulic Criteria section.

- Provide discussion on how receiving capacity was verified for the existing storm sewer in Dransfeldt proposed to receive the site flows.

HKS Response: Discussion on receiving capacity added.

- Please remove the inspection and maintenance information provided in the Outlet Works section of the narrative. Please consider relabeling this section as “Outlet Requirements” and moving the outlet design information from Specific Details down to this section.

HKS Response: Inspection and maintenance info has been removed.

- Provide a brief discussion on how the storm sewer and inlets were sized in the Storm Sewer System section of the narrative.

HKS Response: Discussion added.

- Provide discussion on the EDB and why it is required based on the Cherry Creek tiered water quality requirements. Reference SDECM section 8.3 for the permanent BMP requirements.

HKS Response: Discussion on EDB and tiered water quality requirements added.

- Provide inlet capacity calculations.

HKS Response: Inlet capacity calcs provided

- Provide the means for calculating the Rational Method’s C coefficient in the appendix.

HKS Response: Excerpts from USDCM added to appendix and noted on Rational Calcs

- Replace the one-hour point rainfall values provided in the appendix with those provided in Table 5.1 of the SDECM.

HKS Response: Rainfall values updated

- Please note the basins provided on the drainage plan are not representative of tributary area flowing to a singular point based on the proposed grading and storm sewer layout. Please provide proposed contours on the drainage plan and revise basin delineations as needed. Please also consider whether delineation of EX-1 is needed since no proposed disturbance or receipt of the existing flows to the on-site storm sewer system are anticipated.

HKS Response: Basins updated, EX-1 removed

Sediment and Erosion Control:

GENERAL COMMENTS

- Omit all existing and proposed utilities from the CBMP Drawings, except those relating to stormwater.

HKS Response: Non-stormwater utilities have been removed.

- Provide arrows to indicate the direction of flow.

HKS Response: Flow arrows have been added to initial and final sheets.

- Label and identify the ratio of all slopes that are 4:1 or greater.

HKS Response: Slope labels added to steep slopes.

- Provide and identify Erosion Control Blanket (ECB) on all slopes steeper than 4:1.

HKS Response: ECB added where needed.

- Provide and identify Debris and Trash Control (DTC) for all proposed paved driving surfaces on site and all existing paved driving surfaces adjacent to the site.

HKS Response: DCT added to sheets.

- Provide and identify Portable Toilet Protection (PTP) for the site.

HKS Response: PTP added to site.

- Please verify the Limits of Construction (LOC) encompasses the full extents of proposed work. Specifically, the proposed flared end on the north east corner and the additional improvements along Dransfeldt Road fall outside the LOC.

HKS Response: LOC has been updated to include all proposed improvements.

- Utilize the four types of inlet protection provided in the Town’s standard details. Provide unique labeling and blocks for each type of inlet protection utilized to avoid potential confusion in the field.

HKS Response: Inlet protection added to proposed inlets.

- Include within the plan set all of the town’s 31 CBMP Notes & Details.

HKS Response: All notes and details have been added to the plan set.

- Provide a legend of symbols to correspond to the Town’s 31 CBMP Notes & Details.

HKS Response: Legend sheet added before detail sheets.

- Add a callout/label on all properties adjacent to the project stating that no work shall occur in these areas.

HKS Response: Note that no work shall occur on adjacent properties added to sheets.

- Add the following note to the initial and final CBMP plan sheets:

“LOT PROTECTION (LP) IS REQUIRED ON COMMERCIAL LOTS WHEN LANDSCAPING IS NOT POSSIBLE.”

HKS Response: Note added to initial and final plan sheets.

- Add the following note to the initial and final CBMP plan sheets:

“TO REDUCE THE POTENTIAL FOR CLOGGING OF DEBRIS GRATES, NO STRAW MULCH SHALL BE USED WITHIN THE EXCESS URBAN RUNOFF VOLUME OF A DETENTION BASIN. INSTEAD, EROSION CONTROL BLANKET SHALL BE INSTALLED FOR A WIDTH OF AT LEAST 6-FEET ON BOTH SIDES OF THE CONCRETE LOW FLOW CHANNELS OR UP TO A DEPTH OF 1-FOOT IN SOIL RIPRAP OR BENCHED LOW FLOW CHANNELS. ADDITIONALLY, HYDRAULICALLY-APPLIED WOOD FIBER MULCH, STABILIZED FIBER MATRIX, BONDED FIBER MATRIX, OR FLEXIBLE GROWTH MEDIUM SHALL BE USED IN ALL OTHER AREAS WITHIN THE EXCESS URBAN RUNOFF VOLUME OF THE DETENTION BASIN. THE BLANKET AND HYDRAULICALLY-APPLIED MULCH SHALL COMPLY WITH THE MATERIALS AND INSTALLATION REQUIREMENTS FOR EROSION CONTROL BLANKETS AS REQUIRED BY THE TOWN’S CBMP PROGRAM, AND WHERE APPLICABLE, THE PRODUCT MANUFACTURER.”

HKS Response: HKS Response: Note added to initial and final plan sheets.

- Sheet title and number missing from CBMP Detail sheets.

HKS Response: Title and sheet number are provided on all detail sheets.

INITIAL CBMP PLANS

- Please note Construction Fence (CF) and Silt Fence (SF) are not both necessary for perimeter control. Please consider only providing one of the two control measures along any given extents of the site. Silt Fence (SF) should be used when downstream of proposed disturbance while Construction Fence (CF) should be used when upstream of proposed disturbance.

HKS Response: Perimeter control updated.

- Provide a callout outside the perimeter controls along the public sidewalk(s) to be modified/replaced with the project that states the following:

“ALL WORK WITHIN PUBLIC RIGHT-OF-WAY (ROW) WILL REQUIRE A TOWN ROW PERMIT. INITIAL AND INTERIM CBMPS FOR WORK WITHIN THE TOWN’S ROW SHALL BE COORDINATED WITH THE TOWN’S ENVIRONMENTAL INSPECTOR PRIOR TO THE BEGINNING OF ANY ROW WORK.

HKS Response: Added as a note to initial plan.

INTERIM CBMP PLANS

- Provide and identify sediment control logs (SCL) along all paved areas adjacent landscape/pervious areas. This includes landscape islands and all pedestrian walks.

HKS Response: SCL added in areas downstream from landscaping.

- Provide and identify Detention Pond Protection (DP) for the proposed pond.

HKS Response: DP added to pond.

- Provide and identify the appropriate type of inlet protection from the Town’s standard details for all proposed inlets.

HKS Response: Inlet protection added to sheet.

- Provide and identify Culvert Protection (CP) for the proposed flared end section receiving flow on the north east corner of the site.

HKS Response: Culvert protection added.

- Provide and identify Surface Roughening (SR) in all proposed landscaped areas.

HKS Response: SR added to all proposed landscaped areas.

- Provide and identify Sidewalk Transition Protection (STP) for all proposed pedestrian ramps adjacent to landscaped areas.

HKS Response: STP added to all proposed pedestrian ramps

FINAL CBMP PLANS

- Provide and identify Seeding Mulching and Crimping (SMC) in all proposed landscaped areas.

HKS Response: SMC added to all proposed landscaped areas.